## Front & Preliminaries
|  |  |  | SPECIFICATION | December
|  |  |  | S-702L | 2019
Information Requirements for
DC UPS Package
Revision history
| VERSION | DATE | PURPOSE
| 0.1 | December 2019 | Issued for Public Review
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Project 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
This publication is made available for information purposes and solely for the private
use of the user. IOGP will not directly or indirectly endorse, approve or accredit the
content of any course, event or otherwise where this publication will be reproduced.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
IOGP S-702L Version 0.1
S-702L Information Requirements for
DC UPS Package
Foreword
This specification was prepared under Joint Industry Programme 33 (JIP33) “Standardization of Equipment Specifications for Procurement” organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization for projects globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly approved specification, building on recognized industry and/or international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages, facilitating improved standardization of major projects across the globe. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focussed standardization initiatives and provide step change benefits in the sector’s capital projects performance
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP’s Competition Law Guidelines (November 2014).
IOGP S-702L Version 0.1
S-702L Information Requirements for
dC UPS Package
Introduction
The purpose of this information requirements specification (IRS) is to define information requirements for the supply of DC UPS Package in accordance with IEC 62040-3, Edition 2.0, 2011, Uninterruptible power systems (UPS) - Part 3: Method of specifying the performance and test requirements, for application in the petroleum and natural gas industries. This document defines the information requirements, including format, timing and purpose, for information to be provided by the vendor. It also defines the specific conditions which must be met for conditional information requirements to become mandatory. The information requirements listed in the IRS provide references to the source of the requirement.
This IRS shall be used in conjunction with the supplementary requirements specification IOGP S-702, quality requirements specification IOGP S-702Q and equipment datasheets IOGP S-702D which together comprise the full set of specification documents. The Introduction section in the supplementary requirements specification provides further information on the purpose of each of these documents and the order of precedence for their use.
JIP33 Specification for Procurement Documents Information Requirements Specification
IOGP S-702L Version 0.1
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Supplier Instructions
S-702L Information Requirements for
DC UPS Package
Supplier Instructions
In response to Invitation To Tender (ITT)
Tenderers to submit information as defined in column E - 'Submit At Proposal' in 'Requirements' sheet, in accordance with ITT instructions
On award of contract
Specified Information requirements shall be submitted in accordance with contract information submission instructions. Suppliers to prepare and submit 'Supplier Master Information Schedule' (SMIS) incorporating information requirements in accordance with columns F - 'First Issue Post Purchase Order' in 'Requirements' sheet. Supplier to demonstrate compliance with each information requirement either by providing document number cross reference to the Requirement in 'Supplier Master Information Schedule' (SMIS) and, if specified in the Contract, using column J 'Fulfilled by Document Number(s)' in the IRS Requirements Sheet.
On completion of scope
Supplier to validate that the information delivered meets the IRS requirements either through cross reference to the deliverable type in a as-built version of the 'Supplier Master Information Schedule' SMIS and, if specified in the Contract, by providing an as-built version of the IRS with column J 'Fulfilled by Document Number(s)' in Requirement sheet populated with the specific document numbers issued to the Purchaser.
IRS Structure Contents
| 1 |  | 'Front & Preliminaries' Tab
The 'Front & Preliminaries ' tab includes an IOGP Front sheet for the IRS followed by Acknowledgements, a Disclaimer, Copyright Notice, Foreword and Introduction
| 2 |  | 'Supplier Instructions' Tab
This 'Supplier Instructions' tab provides instructions that Suppliers are to follow in response to this IRS.
S-702L Instructions and Guidance
| 3 |  | 'Requirements' Tab
The 'Requirements' tab lists the suite of information requirements that are to be supplied during tendering and following award of the purchase order to deliver the purchase order scope. The information requirements are grouped under three broad categories; Management information requirements: Key information requirements relating to planning, managing, assuring and reporting the execution of the technical scope. Note: Information requirements relating to contractual and administrative terms and conditions or regulatory obligations are to be supplied in accordance with the applicable purchase order or regulation. Technical information requirements: Technical information developed by the supplier or their sub suppliers, during the design and development, acquisition, manufacture, assembly and testing of the contracted scope. Purchase Order Specific Information Requirements: Information requirements specified by individual owners-operators in addition to those specified by IOGP-JIP33 to meet specific operational, project or legislative requirements. Note: Information requirements relating to contractual and administrative terms and conditions or regulatory obligations are to be supplied in accordance with the applicable purchase order or regulation. "The 'Requirements' tab includes columns A to L, including Column A for the relevant requirement code and Column B for the Requirement for the different Information Requirements (Data, Documents and/or Models) to be provided by suppliers, based on the parent standard, IOGP Specification or the specified parent industry Standard. Condition Invoking Revoking Requirement Column C is included to allow any specific conditions to be identified that may require a additional deliverable(s). Typical Deliverable Column D is provided for Buyer to identify the deliverable type that the information would typically appear within; this also allows the buyer's Requisitioning Engineers to group the various Information Requirements by Deliverable Type. Column E includes Submission Requirements (Yes or No) at Proposal, while columns F, G & H identify Issue Purpose (For Information or For Acceptance) and Durations (Period or Weeks/Months) for First Issue of the particular deliverable Post Purchase Order. Required As Built, Fulfilled by Document Number(s), Translation Required and Remarks columns I, J, K & L are also included. Definitions for each column are contained in the rows above the columns: Abbreviations used for various submission requirements in Column H are shown in table 3.1 below:
Table 3.1 - Information Submission Abbreviations
S-702L Instructions and Guidance
| 4 |  | 'Definitions' Tab
The 'Definitions' tab includes several columns A to F, including Column A for the relevant Code & Column B for the Requirement for the different Information (Data, Documents and/or Models) Requirements to be provided by Suppliers, all copied from the 'Requirements' tab. Column C includes a full description of the Information Requirement based on the Parent Standard, IOGP Specification or an Industry Standard. Column D gives a reference to the Parent Standard, IOGP Specification or an Industry Standard that the Information requirement is identified in. Column E identifies the Requirement format as listed in Table 9.1 below. Column F relates the CFIHOS discipline document type that could be used to classify the document having this IRS content. Definitions for each column are contained in the rows above the columns:
| 5 |  | Abbreviations and definitions
The following abbreviations, terms and definitions have been used in the various tabs of this workbook.
| Buyer |  |  | Organisation placing a Contract or Purchase Order with Supplier for equipment or services on project; may be alternatively referred to as 'User' or 'Purchaser'
| CFIHOS |  |  | Capital Facilities Information Hand Over Specification
| Company |  |  | Project Operating Entity or the organisation Contractor is under contract to
| Contractor |  |  | Project Contractor responsible for procuring equipment.
| Information |  |  | Data, Documents and/or Models
| IRS |  |  | Information Requirements Specification
| PO |  |  | Purchase Order
| QRS |  |  | Quality Requirements Specification
| SMIS |  |  | Supplier Master Information Schedule
| Supplier |  |  | Organisation supplying equipment or services to Company and/or Contractor on project; may alternatively be referred to as "Vendor", "Seller" or “Manufacturer”.
| 6 |  | CFIHOS
The Information Requirements are also classified according to document classification published in v1.4 of Capital Facilities Information Hand Over Specification (CFIHOS). The objective of CFIHOS is to create a common information standards across the process industries. Further information on CFIHOS can be found at:
https://uspi.nl/index.php/projects/frameworks-methodologies/136-cfihos
S-702L Instructions and Guidance
| 7 |  | Document Metadata
Typical Metadata for Information Deliverables to be provided by Suppliers is shown in Table 7.1 below
Table 7.1 - Supplier Deliverable Metadata
S-702L Instructions and Guidance
| 8 |  | Deliverable Formats
The format of the relevant Information Deliverable to be submitted by Supplier for Buyer/Contractor is to be as described in table 8.1 below. Where required to be ‘As Built’, deliverables are to be updated and handed over in the native format.
Table 8.1 – Deliverable Formats
S-702L Instructions and Guidance
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Requirements
S-702L Information Requirements for DC UPS Package
Requirements
Column | Heading - Details and requirements
A | Code - a unique identifier for the Information Requirement assigned by IOGP JIP33 DigitalTool
B | Requirement - a short description of the Information Requirement based on the description in the Parent Standard, IOGP Specification or an Industry Standard Information Requirement Title.
C | Condition Invoking Requirement - describes special condition(s) under which the Information Requirement is required; e.g.. service offshore and weight greater than 1 tonne means information is required. NB: if blank, always required
D | Typical Deliverable - Buyer to advise the short description of the Information Deliverable that would typically include this Information Requirement
E | Submit With Proposal - Yes or No, where ‘Yes' means the Information Requirement is required to be submitted with Suppliers Proposal or 'No' is not required
F, G & H | First Issue Post Purchase Order - issue purpose ('For Information' or 'For Acceptance'), time in weeks for issue of the Information Requirement and Period defined after Purchase Order placement
I | Required As Built - Yes or No, where ‘Yes' means the Information Requirement is required to be 'As Built' on completion or delivery of equipment or 'No' is not required 'As Built'
J | Fulfilled by Information Deliverable Number(s) – identifies which Information Requirement(s) listed in the Supplier Master Information Schedule (SMIS) addresses the Purchasers requirements. NB; it should be noted that one Information Deliverable can fulfil more than one Information Requirement.
K | Translation Required -Yes or No, where 'Yes' means the Information Requirement should be translated into a language(s) (to be advised) other than English and 'No' means to be provided in English
L | Remarks - may include bid clarification questions & decisions (specify author & date)
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Requirement | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | (Yes/No) | Purpose | (Weeks) | (Period) | (Yes/No)
Contract Management Information Requirements
S702-IR-1 | Supplier master information schedule |  | Information Deliverables List | No | For Acceptance |  | WAO | Yes
S702-IR-2 | Delivery schedule |  | Delivery/Production Schedule | Yes | For Information |  | WAO | No
S702-IR-3 | Progress report |  | Progress Report | No | For Information |  | WAO (Monthly) | No
S702-IR-4 | Quality plan | Required for CAS A, B | Quality Plan | - | - |  | - | - |  | -
S702-IR-5 | Sub-vendor delivery schedule |  | Sub-Supplier List | Yes | For Information |  | WAO (Monthly) | No
S702-IR-6 | Inspection and test plan for complete package |  | Inspection and Test Plan (ITP) | No | For Information |  | WAO | No
S702-IR-7 | Handling, shipping, storage and preservation procedure |  | Handling, shipping and storage procedure | No | For Information |  | WPTD | No
S702-IR-8 | Non-conformance records |  | Nonconformance History | No | For Acceptance |  | WAO | Yes
S702-IR-9 | Concession requests |  | Concession request | No | For Acceptance |  | WAO | Yes
Technical Information Requirements
S702-IR-25 | General Arrangement Diagram |  | General Arrangement Diagram | Yes | For Information |  | WAO | No |  | No | Preliminary GA drawing to be submitted with proposal.
S702-IR-19 | Cable Size Calculation |  | Cable Size Calculation | No | For Information |  | WAO | No |  | No
S702-IR-20 | Design Calculation |  | Design Calculation | Yes | For Acceptance |  | WAO | No |  | No
S702-IR-49 | Load profile and battery sizing calculation |  | Load profile and battery sizing calculation | Yes | For Acceptance |  | WAO | Yes |  | Yes
S702-IR-21 | Heat Dissipation Calculation & Loads |  | Heat Dissipation Calculation & Loads | Yes | For Information |  | WAO | No |  | No
S702-IR-22 | Reliability, Availability, Safety Integrity Level Calculation |  | Reliability, Availability, Safety Integrity Level Calculation | Yes | For Information |  | WAO | No |  | No
S702-IR-23 | Manufacturer Datasheet |  | Manufacturer Datasheet | No | For Information |  | WAO | No |  | No
S702-IR-26 | Single Line Diagram |  | Single Line Diagram | Yes | For Acceptance |  | WAO | No |  | No
S702-IR-27 | Termination Diagram |  | Termination Diagram | No | For Information |  | WAO | Yes |  | No
S702-IR-28 | Wiring Diagram |  | Wiring Diagram | No | For Information |  | WAO | Yes |  | No
S702-IR-29 | Bill Of Materials |  | Bill Of Materials | No | For Information |  | WAO (Monthly) | Yes |  | No
S702-IR-30 | Consolidated Spare Parts List |  | Consolidated Spare Parts List | No | For Information |  | WPTD | No |  | No
S702-IR-31 | Commissioning Instruction |  | Commissioning Instruction | No | For Information |  | WPTD | No |  | No
S702-IR-32 | Installation Manual |  | Installation Manual | No | For Information |  | WPTD | No |  | No | Installation Manual index, if required, shall be provided in first revision of the document. When index agreed, Installation manual content shall be provided in subsequent revision of the document.
S702-IR-33 | Maintenance Manual |  | Maintenance Manual | No | For Information |  | WPTD | No |  | No | Maintenance Manual index, if required, shall be provided in first revision of the document. When index agreed, Maintenance manual content shall be provided in subsequent revision of the document.
S702-IR-34 | Operating Manual |  | Operating Manual | No | For Information |  | WPTD | No |  | No | Operating Manual index, if required, shall be provided in first revision of the document. When index agreed, Operating manual content shall be provided in subsequent revision of the document.
S702-IR-35 | Factory Acceptance Test (FAT) Procedure |  | Factory Acceptance Test (FAT) Procedure | No | For Acceptance |  | WAO (Monthly) | No |  | No
S702-IR-36 | Site Acceptance Test (SAT) Procedure |  | Site Acceptance Test (SAT) Procedure | No | For Acceptance |  | WAO (Monthly) | No |  | No
S702-IR-37 | Factory Acceptance Test (FAT) Records |  | Factory Acceptance Test (FAT) Records | - | For Acceptance |  | WAT | No |  | No
S702-IR-38 | Site Acceptance Test (SAT) Records |  | Site Acceptance Test (SAT) Records | - | For Acceptance |  | WAT | No |  | No
S702-IR-39 | Manufacturer Record Book (MRB) |  | Manufacturer Record Book (MRB) | - | For Information |  | WPTD | Yes |  | No | Manufacturer Record Book index, if required, shall be provided in first revision of the document. When index agreed, Manufacturer Record Book content shall be provided in subsequent revision of the document.
S702-IR-40 | Inspection Report |  | Inspection Report | - | For Acceptance |  | WAT | No |  | No
S702-IR-41 | Type Test Report |  | Type Test Report | Yes | For Information |  | WPTT | No |  | No
S702-IR-42 | Declaration Of Conformity |  | Declaration Of Conformity | Yes | For Information |  | WPTT | No |  | No
S702-IR-43 | Obsolescence management plan |  | Obsolescence management plan | Yes | For Information |  | WPTD | - |  | No
S702-IR-44 | I/O data address mapping list |  | I/O data address mapping list | No | For Information |  | WAO (Monthly) | Yes |  | No
S702-IR-45 | Input data for Harmonic Analysis |  | Input data for Harmonic Analysis | No | For Information |  | WAO | No |  | No
S702-IR-47 | Calibration Certificate |  | Calibration Certificate | No | For Information |  | WPTT | No |  | No | Document to be retained with Supplier. Document shall be reviewed during FAT, as required.
S702-IR-46 | Materials Inspection Certificate (3.1) |  | Materials Inspection Certificate (3.1) | No | For Information |  | WPTT | No |  | No | Document to be retained with Supplier. Document shall be reviewed during FAT, as required.
S702-IR-48 | Packing List |  | Packing List | No | For Information |  | WPTD | No |  | No
Supplementary Requirements
Public Review Draft
Public Review Draft

## Definitions
S-702L Information Requirements for DC UPS Pacage
Definitions
Column | Heading - Details and requirements
A | Code - a unique identifier for the Information Requirement assigned by IOGP JIP33 DigitalTool
B | Requirement - a short description of the Information Requirement that would typically provide the Information required, based on the description in the Parent Standard, IOGP Specification or an Industry Standard Title.
C | Description - an excerpt from the Parent Standard, IOGP Specification or Industry Standard.
D | Reference - reference to the Parent Standard, IOGP Specification or Industry Standard that the Information Deliverable is identified in.
E | Format - defines the required format of the relevant Information Requirement to be submitted by Supplier for Buyer/Contractor for information and acceptance as shown in Table 9.1 of Instructions Tab and selected from pick list.
F | CFIHOS Discipline Document Type Code - the CFIHOS discipline document type that could be used to classify the document having this IRS content.
Col A | Col B | Col C | Col D | Col E | Col F
Code | Requirement | Description | Reference | Format | CFIHOS Discipline Document Type Code
Contract Management Information Requirements
S702-IR-1 | Supplier master information schedule | Schedule of specific information deliverables developed by the [Vendor] and accepted by the [Purchaser] to meet the information requirements defined in the agreed Information Requirements Specification (IRS). The schedule typically defines; a. information deliverable type, title/description b. unique identification (code/number) in the [Vendor's] format unless agreed otherwise in the contract. c. planned submission arrangements including; purpose, formats, timing, frequency Arrangements for managing submissions, tracking progress and updating the schedule during the execution of the contract scope will be in accordance with contractual agreements. | API 671, 13.1.1 | Native
S702-IR-2 | Delivery schedule | Schedule depicting, as applicable to the service or product scope, design, supply, manufacture, inspection, testing and delivery activities to be executed by [vendor/sub-vendors]. Schedule details typically** include; b. activity early/late start/completion dates, durations, dependencies (Calendar Dates) c. critical path and float d. outsourced services and equipment (cross referenced to purchase order and sub-vendor) e. information deliverable submission dates identifying any execution activity dependencies Once agreed, changes to planned dates are subject to agreement by [purchaser]. Progress against planned dates is measured and the schedule updated and reported to the [purchaser] in accordance with contract reporting agreements. ** Schedule development tools, formats and submission protocols follow the [vendor's] standard practice unless otherwise agreed in the contract. | Contract Requirement | PDF
S702-IR-3 | Progress report | Report detailing activities completed in the period, percent complete against planned, activities planned for the next period, risks/areas of concern, cause of any delays and proposed recovery plans, concessions, internal and outsourced inspection and audit activities.. Note: may also include actionable items such as Health, Safety, Security & Environment (HSSE) incidents & status if required under the Contract. |  | PDF
S702-IR-4 | Quality plan | Plan specifying the actions, responsibilities and associated resources to be applied by the [vendor], and when applicable [sub-vendors] or [manufacturers], to deliver the services or procured item(s) in conformance with the agreed requirements. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of quality plans for specific applications, processes or products. [API Spec Q2 may be used to inform the development of Service Quality Plans] | Contract Requirement | PDF
S702-IR-5 | Sub-vendor delivery schedule | Definition of processes, products or services that will be externally provided and the controls to be applied by the [vendor] to ensure conformance with agreed requirements. The schedule includes evidence of the basis of capability assessment , quality management system certification (or equivalent), process or product qualification for proposed suppliers of outsourced products and services when nominated in the Contract or Quality Requirements Specification (QRS) . Note: ISO 9001, API Specs Q1/Q2 define requirements for assessing risks and establishing controls for outsourced products and services. | Contract Requirement | Native
S702-IR-6 | Inspection and test plan for complete package | Tabular presentation of a quality plan typically used for process or product applications to define the specific sequence of operational activities, instructions, acceptance criteria records and associated [vendor], [purchaser] and independent conformity assessment activities. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of inspection and test plans for specific processes and products. | Contract Requirement | PDF
S702-IR-7 | Handling, shipping, storage and preservation procedure | Definition of practices to be followed during the; storage, transport, lifting and preservation of the equipment and materials included in the scope of supply to maintain their functionality and guarantees. Procedures typically define: a. packaging requirements; contents, identification, size, weight and number of packages/container (s), b. special packing/unpacking/handling requirements c. storage location and requirements, d. preservation requirements detailing inspection periods and required maintenance, materials required etc., both prior to installation and post installation, but prior to commissioning. | Contract Requirement | PDF
S702-IR-8 | Non-conformance records | Details of non-conformances raised by or to the [vendor/sub-vendors] against technical requirements prior to or during the delivery of the products or services. Non-conformance is managed by the [vendor] in accordance with ISO 9001 Clause 8.7 and associated records typically include; description of non-conformance, analysis and disposition, correction implemented and details of any retesting or inspection taken to demonstrate subsequent conformance. Note: Instances where the proposed disposition is to accept a non-conforming condition are subject to agreement by the [purchaser] in accordance with the concession management protocols defined in the Contract. | Contract Requirement | PDF
S702-IR-9 | Concession requests | Formal submission seeking [purchaser] agreement to accept deviations from the contracted scope or technical requirements. Requests may be raised as a result of, as examples, material or service availability, obsolescence, innovation, non-conformance. Requests are typically raised as required during execution with a summary report detailing concessions raised, [purchaser] directions, agreed action status provided with progress reports and at contract closeout | Contract Requirement | PDF
Technical Information Requirements
S702-IR-25 | General Arrangement Diagram | A drawing showing overall dimensions, critical interface dimensions, part references and weight of assemblies, equipment and components. The drawing shall contain reference to main specifications and standards For equipment / components the drawing may include cross sectional views. Document may contain the following information: • Main dimensions • Interface connections • Weight • Centre of gravity • Withdrawal/installation and maintenance space. • Installation and mounting details • Lifting arrangement | 6.1.2, 7.2.1, 7.2.4, 7.3.1, 7.3.3, 7.4.13, 7.9.1, 7.9.5, 7.9.6 | PDF
S702-IR-19 | Cable Size Calculation | Calculations required for sizing of cables | 5.2.3, 7.9.5 | PDF
S702-IR-20 | Design Calculation | Document providing information about data, and basic conditions and assumptions used for selection of appropriate system solutions, parts or material, as well as the way these data have been processed and evaluated Mandatory content of information: – Calculation methods used; – Input data; – Results; – Analysis of the results. Optional content of information: – Case studies; – Verification of different technical solutions. | IEC 61355, D00037 : 5.2.2, 5.3.2 | PDF
S702-IR-49 | Load profile and battery sizing calculation | Document providing information about data, and basic conditions and assumptions used for selection of appropriate system solutions, parts or material, as well as the way these data have been processed and evaluated Mandatory content of information: – Calculation methods used; – Input data; – Results; – Analysis of the results. Optional content of information: – Case studies; – Verification of different technical solutions. | 5.4.2.2 | PDF
S702-IR-21 | Heat Dissipation Calculation & Loads | This document contains the calculation by the manufacturer to arrive at the heat load produced by the switchgear to enable HVAC sizing and includes load factors and type of load provided to the manufacturer to produce accurate calculation. As per NORSOK H-003 | NORSOK H-003 : 5.2.2 | PDF
S702-IR-22 | Reliability, Availability, Safety Integrity Level Calculation | Demonstrates starting and operating reliability / availability of purchased equipment (e.g. mean time between failure data) & Safety Integrity Level (SIL) calculations. | 5.1.6 | PDF
S702-IR-23 | Manufacturer Datasheet | Document providing information on technical data and characteristics about material, products or systems and their environment for proper implementation. This document provides structured data form containing part number/model, design information, operational data and limitations of the equipment. Document shall provide information on technical data and characteristics about material, products or systems and their environment for proper implementation. | (5.1.2 para 1), (5.1.2 para 2 new), (5.6 para 2 new), (5.6 para 3 new), 4.2.1.1 , 5.1.1, 5.1.4, 5.3.2, 5.3.4, 5.4.2.2, 5.4.2.3, 6.1.2, 7.2.2, 7.2.3, 7.4.3, 7.4.7, 7.9.1, 7.9.2, 7.9.3, 7.9.4, 7.9.5, 7.9.7 | PDF
S702-IR-26 | Single Line Diagram | a diagram depicting the main equipment items (switchboards, transformers etc.) and their relationships within the facility electrical distribution system including details of fault levels and current and voltage ratings. | IEC 61355, D00112 : A.1, B.1 | PDF
S702-IR-27 | Termination Diagram | a diagram for equipment, panels, junction boxes, etc. identifies all connections and cable terminations at input/output rails. Required for removal/hook up purposes and modifications. To include vendor interfaces. | 6.1.2, 7.5.3, 8.2.4.4 | PDF
S702-IR-28 | Wiring Diagram | Description: Diagram providing information on the circuitry of an object. Mandatory content of information: – Graphical symbols representing the objects; – Graphical symbols representing the connections among objects; – Reference designations; – Terminal designations; – Signal level conventions (applicable to logic signals). – Information necessary to trace paths and circuits (signal designations, location references) – Supplementary information necessary for the understanding of functions Optional content of information: – Technical data; – Reference to other documents; – Information about wiring performance; – Cable and cable core identification. | IEC 61355, D00053 : 6.1.2, 7.3.1, 7.5.2, 7.7.4, 7.9.8, 7.9.9, 8.1.2.11, 8.2.1, 8.2.2.7, 8.2.4.4 | PDF
S702-IR-29 | Bill Of Materials | A list of parts, components and sub-assemblies for equipment with part numbers, item numbers, quantities, material designations and references to specifications. Note When agreed includes details of sub-suppliers & associated PO's. | 6.1.2, 7.1.3, 7.4.2, 7.4.3, 7.4.4, 7.4.5, 7.4.6, 7.4.7, 7.9.6, 7.9.7, 7.9.8, 7.9.9, 8.1.1.2 | PDF
S702-IR-30 | Consolidated Spare Parts List | a consolidated spare parts list generated to support execution of project purchasing for the purpose of commissioning, start-up, maintenance support, etc. | 7.1.3, 7.3.1 | PDF
S702-IR-31 | Commissioning Instruction | Instruction providing information on the commissioning of the product. Instructions for commissioning are provided especially for large and highly complex products and for large industrial installations. The purpose of such instructions is to provide the user with the information needed for initial setting-up of the product. Mandatory content of information: These instructions should contain for example: - download program, software instructions according to IEC 61506; - checking instructions; - checks to be performed before connection to the supply network and before first operation; - details of specifications to apply to acceptance, inspection and performance tests. | IEC 61355, D00123 : 6.1.3 | PDF
S702-IR-32 | Installation Manual | Description of methods of installing a piece of equipment. Installation refers to the mounting, setting, erection, etc. NOTE: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a stand alone document. | 7.1.5 | PDF
S702-IR-33 | Maintenance Manual | Description of methods of maintaining a specific piece of equipment. Typically originates from the equipment or package supplier. NOTE: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a stand alone document. | 7.1.5 | PDF
S702-IR-34 | Operating Manual | Description of methods of operating a piece of equipment or process unit, including but not limited to instructions, procedures, drawings, tables, etc. for the operation -stop, start, and emergency shutdown. Including operational limits, function testing, possible interruptions, corrective actions, hazards and corrective measures to be taken. NOTE: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a stand alone document. | 7.1.5 | PDF
S702-IR-35 | Factory Acceptance Test (FAT) Procedure | The FAT procedure will be used to ensure a common understanding of performed testing and acceptance criteria. This document shall include all testing activities and their acceptance criteria according to applicable standards, specifications and requirements,. to document the condition of the equipment as tested from factory. Test set-up and test equipment is shall be defined. Suppliers standard (routine) test procedures should be used as far as possible | 6.1.2, 6.1.4, 6.1.5 | PDF
S702-IR-36 | Site Acceptance Test (SAT) Procedure | Procedure documenting the manufacturers recommended site tests including discrete functional unit and overall assembly, electrical, mechanical, protection relay and IEDs. | 6.1.3 | PDF
S702-IR-37 | Factory Acceptance Test (FAT) Records | The FAT report will be used to verify that the equipment has been tested according to FAT procedure. The FAT report will be used for acceptance of the equipment delivery This document shall include all testing activities and their acceptance criteria according, , in accordance with the FAT procedure, to applicable standards, specifications and requirements,. to document the condition of the equipment as tested from factory. Test set-up and test equipment is shall be defined. | 6.1.2, 6.1.4, 6.1.5 | PDF
S702-IR-38 | Site Acceptance Test (SAT) Records | Records demonstrating results of site tests including discrete functional unit and overall assembly, electrical, mechanical, protection relay and IEDs. | 6.1.3 | PDF
S702-IR-39 | Manufacturer Record Book (MRB) | Detailed information/description for the documents to be included in MRB as agreed between Purchaser and Vendor: Shall include but not be limited to documents Recording Compliance With Statutory and/or Local Regulations, and inspection and testing results / reports for all the testing (e.g. Mill tests on Material, production test coupon results, NDE, NDE personnel qualification, impact test, Heat treatment, leak testing etc.) carried out at Vendor/Sub-Vendor shop and at mill. | 7.1.5 | PDF
S702-IR-40 | Inspection Report | Any inspection report/certificate shall include all of the following: a) identification of issuing body b) unique identification and date of issue c) date(s) of inspection d) identification of the item(s) inspected e) signature or other indication of approval, by authorized personnel f) a statement of conformity where applicable g) the inspection results, except when the inspection body can also produce an inspection report containing the inspection results, and when both the inspection certificate and inspection report are traceable to each other. NOTE: Optional elements that can be included in inspection reports or certificates are listed in Annex B, ISO17020:2012 | ISO17020:2012 : 6.1.2, 6.1.4, 6.1.5, 7.4.10, 7.4.11, 7.4.12, 7.4.9, 7.5.1 | PDF
S702-IR-41 | Type Test Report | The results of test performed to provide evidence that the design meets the requirements of the functional specification (See ISO 13880:1999). (When specified, type test shall be independently verified by a third part and supported by a Certificate of Conformance - CFIHOS-70000013) | ISO 13880:1999 : 4.2.1.1 , 5.1.3.1, 5.1.4, 6.1.5, 7.1.1, 7.4.10, 7.4.11, 7.4.12, 7.4.8, 7.4.9, 7.9.2, 7.9.3, 7.9.4, 7.9.7 | PDF
S702-IR-42 | Declaration Of Conformity | Declaration that contains sufficient information to enable an recipient of the declaration of conformity to identify the issuer of the declaration, the object of the declaration, the standards and other specified requirements with which conformity is declared, and the person signing for and on behalf of the issuer of the declaration of conformity (first party). Mandatory content of information: Please refer to ISO/IEC 17000, clause 5.5 and ISO/IEC 17050-1:2004. | ISO/IEC 17000; ISO/IEC 17050-1:2004. : 7.4.8, 7.8.1 | PDF
S702-IR-43 | Obsolescence management plan | Plan defining the manufacturer's co-ordinated activities to direct and control the strategies for the identification and mitigation of the effects of obsolescence to the user, through all stages of the life of all components within the UPS System. An example of the principles of this plan is defined within IEC 62402, Obsolescence management – Application guide. | 7.1.4 | PDF
S702-IR-44 | I/O data address mapping list | A document showing list of memory address of the data communication and signalling circuits to be co-related with the upper level network protocol. This document provides a structured data exchange path from the device to upper level network. | (5.6 para 4 new) | PDF
S702-IR-45 | Input data for Harmonic Analysis | This document shall provide complete harmonic data (spectrum) of the connected device so as to enable power system engineer analyse the impact of total harmonic on the overall power system. | 5.2.2 | PDF
S702-IR-47 | Calibration Certificate | Certification of calibration results to ISO 17025 or equivalent, including Common requirements for reports (clause ISO 17025, 7.8.2) and, a) the measurement uncertainty of the measurement result presented in the same unit as that of the measurand or in a term relative to the measurand (e.g. percent); quantity value including unit of measurement and a measurement uncertainty. b) the conditions (e.g. environmental) under which the calibrations were made that have an influence on the measurement results; c) a statement identifying how the measurements are metrologically traceable (see ISO 17025, Annex A); d) the results before and after any adjustment or repair, if available; e) where relevant, a statement of conformity with requirements or specifications (see ISO 17025, 7.8.6); f) where appropriate, opinions and interpretations (see ISO 17025, 7.8.7). | ISO 17025 : 6.1.1.2 | Hard Copy
S702-IR-46 | Materials Inspection Certificate (3.1) | A document with test results based on specific inspection and testing, issued by the Manufacturer and validated by the Manufacturer's authorised inspection representative independent of the manufacturing department. NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204. | ISO 10474 / EN 10204 : 5.1.5, Table 5 | Hard Copy
S702-IR-48 | Packing List | a list describing the contents of a shipment received. Synonyms: Inventory, packing slip, bill of lading. | 9.6 | PDF
Supplementary Requirements
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Backcover
Public Review Draft

## Pick Lists (hidden)
Deliverables Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col K
Code | Title | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | Yes/No) | Purpose | (Weeks) | (Period) | Yes/No)
|  |  |  | Yes | For Information |  | WAD | Yes |  | Yes
|  |  |  | No | For Acceptance |  | WAI | No |  | No
WAO
WAO (Monthly)
WAT
WPTD
WPTF
WPTT
Definitions Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F
Code | Title | Description | Reference | Format | CFIHOS Discipline Document Type Code |  | Previous Template
Deliverables Tab Pick Lists Col E: Hard Copy; Deliverables Tab Pick Lists Col H: Hard Copy | Intelligent vector drawing Like CAD
Deliverables Tab Pick Lists Col E: Native; Deliverables Tab Pick Lists Col H: Native | Multi media Like Film, Micro fiche, Video, Sound
Deliverables Tab Pick Lists Col E: PDF; Deliverables Tab Pick Lists Col H: PDF | Raster Image like a bitmap
Deliverables Tab Pick Lists Col E: Intelligent Vector (CAD); Deliverables Tab Pick Lists Col H: S/D | Structured Data Like CSV file, MS-access, MS-Excel, Application Database
Deliverables Tab Pick Lists Col E: Multi media (Film) | Technical publication or Text
Raster Image (Bitmap)
Structured Data (MS Apps)
Technical Publication (Text)
|  | WAD | - | Weeks After Delivery
|  | WAI | - | Weeks After Inspection
|  | WAO | - | Weeks After Order
|  | WAO (Monthly) | - | Weeks After Order Monthly
|  | WAT | - | Weeks After Test
|  | WPTD | - | Weeks Prior To Delivery
|  | WPTF | - | Weeks Prior to Fabrication
|  | WPTT | - | Weeks Prior To Test
Note on K4: Chris Mitchell:
Note on L4: Chris Mitchell: