## Front & Preliminaries
|  |  |  | SPECIFICATION | December
|  |  |  | S-723L | 2020
Information Requirements for
Electric Process Heaters
Revision history
| VERSION | DATE | PURPOSE
| 1 | December 2020 | Issued for Use
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Programme 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
This publication is made available for information purposes and solely for the private
use of the user. IOGP will not directly or indirectly endorse, approve or accredit the
content of any course, event or otherwise where this publication will be reproduced.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
S-723L Information Requirements for
Electric Process Heaters
Foreword
This specification was prepared under Joint Industry Programme 33 (JIP33) "Standardization of Equipment Specifications for Procurement" organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly agreed specification, building on recognized industry and international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focused standardization initiatives and provide step change benefits in the sector's capital projects performance.
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP's Competition Law Guidelines (November 2014).
S-723L Information Requirements for
Electric Process Heaters
Introduction
The purpose of this information requirements specification (IRS) is to define Information requirements for the procurement of electric process heaters, in accordance with IOGP S-723 for application in the petroleum and natural gas industries. This document defines the information requirements, including format, timing and purpose, for information to be provided by the manufacturer. It also defines the specific conditions which must be met for conditional information requirements to become mandatory. The information requirements listed in the IRS provide references to the source of the requirement.
This IRS shall be used in conjunction with the specification IOGP S-723 quality requirements specification IOGP S-723Q and equipment data sheet IOGP S-723D which together comprise the full set of specification documents. The introduction section in the specification provides further information on the purpose of each of these documents and the order of precedence for their use
JIP33 Specification for Procurement Documents Information Requirements Specification

## Supplier Instructions
S-723L Information Requirements for
Electric Process Heaters
Supplier Instructions
In response to Invitation To Tender (ITT)
Tenderers to submit information as defined in column E - 'Submit At Proposal' in 'Requirements' sheet, in accordance with ITT instructions
On award of contract
Specified Information requirements shall be submitted in accordance with contract information submission instructions. Suppliers to prepare and submit 'Supplier Master Information Schedule' (SMIS) incorporating information requirements in accordance with columns F - 'First Issue Post Purchase Order' in 'Requirements' sheet. Supplier to demonstrate compliance with each information requirement either by providing document number cross reference to the Requirement in 'Supplier Master Information Schedule' (SMIS) and, if specified in the Contract, using column J 'Fulfilled by Document Number(s)' in the IRS Requirements Sheet.
On completion of scope
Supplier to validate that the information delivered meets the IRS requirements either through cross reference to the deliverable type in a as-built version of the 'Supplier Master Information Schedule' SMIS and, if specified in the Contract, by providing an as-built version of the IRS with column J 'Fulfilled by Document Number(s)' in Requirement sheet populated with the specific document numbers issued to the Purchaser.
IRS Structure Contents
1 |  | 'Front & Preliminaries' Tab
The 'Front & Preliminaries ' tab includes an IOGP Front sheet for the IRS followed by Acknowledgements, a Disclaimer, Copyright Notice, Foreword and Introduction
2 |  | 'Supplier Instructions' Tab
This 'Supplier Instructions' tab provides instructions that Suppliers are to follow in response to this IRS.
3 |  | 'Requirements' Tab
The 'Requirements' tab lists the suite of information requirements that are to be supplied during tendering and following award of the purchase order to deliver the purchase order scope. The information requirements are grouped under three broad categories; Management information requirements: Key information requirements relating to planning, managing, assuring and reporting the execution of the technical scope. Note: Information requirements relating to contractual and administrative terms and conditions or regulatory obligations are to be supplied in accordance with the applicable purchase order or regulation. Technical information requirements: Technical information developed by the supplier or their sub suppliers, during the design and development, acquisition, manufacture, assembly and testing of the contracted scope. Purchase Order Specific Information Requirements: Information requirements specified by individual owners-operators in addition to those specified by IOGP-JIP33 to meet specific operational, project or legislative requirements. Note: Information requirements relating to contractual and administrative terms and conditions or regulatory obligations are to be supplied in accordance with the applicable purchase order or regulation. "The 'Requirements' tab includes columns A to L, including Column A for the relevant requirement code and Column B for the Requirement for the different Information Requirements (Data, Documents and/or Models) to be provided by suppliers, based on the parent standard, IOGP Specification or the specified parent industry Standard. Condition Invoking Revoking Requirement Column C is included to allow any specific conditions to be identified that may require a additional deliverable(s). Typical Deliverable Column D is provided for Purchaser to identify the deliverable type that the information would typically appear within; this also allows the Purchaser's Requisitioning Engineers to group the various Information Requirements by Deliverable Type. Column E includes Submission Requirements (Yes or No) at Proposal, while columns F, G & H identify Issue Purpose (For Information or For Acceptance) and Durations (Period or Weeks/Months) for First Issue of the particular deliverable Post Purchase Order. Required As Built, Fulfilled by Document Number(s), Translation Required and Remarks columns I, J, K & L are also included. Definitions for each column are contained in the rows above the columns: Abbreviations used for various submission requirements in Column H are shown in table 3.1 below:
Table 3.1 - Information Submission Abbreviations
4 |  | 'Definitions' Tab
The 'Definitions' tab includes several columns A to F, including Column A for the relevant Code & Column B for the Requirement for the different Information (Data, Documents and/or Models) Requirements to be provided by Suppliers, all copied from the 'Requirements' tab. Column C includes a full description of the Information Requirement based on the Parent Standard, IOGP Specification or an Industry Standard. Column D gives a reference to the Parent Standard, IOGP Specification or an Industry Standard that the Information requirement is identified in. Column E identifies the Requirement format as listed in Table 9.1 below. Column F relates the CFIHOS discipline document type that could be used to classify the document having this IRS content. Definitions for each column are contained in the rows above the columns:
5 |  | Abbreviations and definitions
The following abbreviations, terms and definitions have been used in the various tabs of this workbook.
Buyer |  |  | Organisation placing a Contract or Purchase Order with Supplier for equipment or services on project; may be alternatively referred to as 'User' or 'Purchaser'
CFIHOS |  |  | Capital Facilities Information Hand Over Specification
Company |  |  | Project Operating Entity or the organisation Contractor is under contract to
Contractor |  |  | Project Contractor responsible for procuring equipment.
Information |  |  | Data, Documents and/or Models
IRS |  |  | Information Requirements Specification
PO |  |  | Purchase Order
QRS |  |  | Quality Requirements Specification
SMIS |  |  | Supplier Master Information Schedule
Supplier |  |  | Organisation supplying equipment or services to Company and/or Contractor on project; may alternatively be referred to as "Vendor", "Seller" or “Manufacturer”.
6 |  | CFIHOS
The Information Requirements are also classified according to document classification published in v1.4 of Capital Facilities Information Hand Over Specification (CFIHOS). The objective of CFIHOS is to create a common information standards across the process industries. Further information on CFIHOS can be found at:
https://www.jip36-cfihos.org/about/
7 |  | Document Metadata
Typical Metadata for Information Deliverables to be provided by Suppliers is shown in Table 7.1 below
Table 7.1 - Supplier Deliverable Metadata
8 |  | Deliverable Formats
The format of the relevant Information Deliverable to be submitted by Supplier for Buyer/Contractor is to be as described in table 8.1 below. Where required to be ‘As Built’, deliverables are to be updated and handed over in the native format.
Table 8.1 – Deliverable Formats
Copy for SC Approval

## Requirements
S-723L Information Requirements for Electric Process Heaters
Requirements
Column | Heading - Details and requirements
A | Code - a unique identifier for the Information Requirement assigned by IOGP JIP33 DigitalTool
B | Requirement - a short description of the Information Requirement based on the description in the Parent Standard, IOGP Specification or an Industry Standard Information Requirement Title.
C | Condition Invoking Requirement - describes special condition(s) under which the Information Requirement is required; e.g.. service offshore and weight greater than 1 tonne means information is required. NB: if blank, always required
D | Typical Deliverable - Purchaser to advise the short description of the Information Deliverable that would typically include this Information Requirement
E | Submit With Proposal - Yes or No, where 'Yes' means the Information Requirement is required to be submitted with Suppliers Proposal or 'No' is not required
F, G & H | First Issue Post Purchase Order - issue purpose ('For Information' or 'For Acceptance'), time in weeks for issue of the Information Requirement and Period defined after Purchase Order placement.
I | Required As Built - Yes or No, where 'Yes' means the Information Requirement is required to be 'As Built' on completion or delivery of equipment or 'No' is not required 'As Built'
J | Fulfilled by Information Deliverable Number(s) - identifies which Information Requirement(s) listed in the Supplier Master Information Schedule (SMIS) addresses the Purchasers requirements. NB; it should be noted that one Information Deliverable can fulfil more than one Information Requirement.
K | Translation Required -Yes or No, where 'Yes' means the Information Requirement should be translated into a language(s) (to be advised) other than English and 'No' means to be provided in English
L | Remarks - may include bid clarification questions & decisions (specify author & date)
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Requirement | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | (Yes/No) | Purpose | (Weeks) | (Period) | (Yes/No)
Contract Management Information Deliverables
S723-IR-1 | Supplier master information schedule |  | Information Deliverables List | No | For Acceptance |  | WAO | Yes |  | No
S723-IR-2 | Delivery schedule |  | Delivery/Production Schedule | Yes | For Information |  | WAO | No |  | No
S723-IR-3 | Progress report |  | Progress Report | No | For Information |  | WAO (Monthly) | No |  | No
S723-IR-4 | Quality plan | Required for CAS A and B | Quality Plan | - | - |  | - | - |  | -
S723-IR-5 | Sub-Supplier List | Required for CAS A and B | Sub-Supplier List | - | - |  | - | - |  | -
S723-IR-6 | Inspection and test plan for complete package | Required for CAS A and B | Inspection and Test Plan (ITP) | - | - |  | - | - |  | -
S723-IR-7 | Handling, shipping, storage and preservation procedure |  | Handling, shipping and storage procedure | No | For Information |  | WPTD | No |  | No
S723-IR-8 | Non-conformance records |  | Nonconformance History | No | For Acceptance |  | WAO | Yes |  | No
S723-IR-9 | Concession requests |  | Concession request | No | For Acceptance |  | WAO | Yes |  | No
Technical Information Deliverables
S723-IR-20 | Manufacturer Datasheet |  | Manufacturer Datasheet | Yes | For Acceptance |  | WAO | No |  | No
S723-IR-22 | Bundle assembly general arrangement |  | General Arrangement Diagram | No | For Acceptance |  | WAO | Yes |  | No
S723-IR-25 | Power and control assembly general arrangement |  | General arrangement diagram | No | For Acceptance |  | WAO | Yes |  | No
S723-IR-26 | Mechanical design calculations |  | Design Calculation | No | For Acceptance |  | WAO | Yes |  | No
S723-IR-21 | Thermal calculations |  | Thermal Calculations | No | For Information |  | WAO | Yes |  | No
S723-IR-24 | Bundle detail drawing |  | Detailed Drawing | No | For Information |  | WAO | Yes |  | No
S723-IR-28 | Terminal box detail drawing |  | Termination Diagram | No | For Acceptance |  | WAO | Yes |  | No
S723-IR-30 | Control schematics |  | Schematic diagram | No | For Information |  | WAO | No |  | No
S723-IR-29 | Single line diagram |  | Single line diagram | No | For Acceptance |  | WAO | No |  | No | Interface information
S723-IR-31 | Wiring diagram |  | Wiring diagram | No | For Information |  | WAO | No |  | No
S723-IR-41 | Ex Certification | For heaters rated for hazardous area | Hazardous Area Certificate (Type) | No | For Information |  | WAO | No |  | No
S723-IR-35 | Materials Inspection Certificate (3.1) | Required for CAS A, B and C | Materials Inspection Certificate (3.1) | - | - |  | - | - |  | -
S723-IR-37 | Alloy verification | Required for CAS A, B and C, when MOC of tubesheet and heating element sheath is alloy steel. | Positive Material Identification (PMI) procedure | - | - |  | - | - |  | -
S723-IR-38 | Pickling and passivation | Needed when material of construction of tubesheet is stainless steel | Pickling and passivation procedure | No | For Information |  | WPTT | No |  | No | Ownership information
S723-IR-53 | Power and control assembly bill of materials |  | Spare part list | No | For Acceptance |  | WPTD | No |  | No | Ownership information
S723-IR-33 | Provided spare parts list |  | Spare part list | No | For Acceptance |  | WPTD | No |  | No | Ownership information
S723-IR-43 | Type test for power and control assembly |  | Type test report | No | For Information |  | WAT | No |  | No
S723-IR-42 | Sheath to tubesheet pressure test procedure |  | Pressure test procedure | No | For Information |  | WPTT | No |  | No
S723-IR-48 | NDE of Sheath-to-tubesheet weld joint | Required for CAS A B and C | Non Destructive Test Procedure | - | - |  | - | - |  | -
S723-IR-44 | Routine test procedure for heater bundle |  | Routine test procedure | No | For Acceptance |  | WPTT | No |  | No
S723-IR-45 | Routine test procedure for power and control assembly |  | Routine test procedure | No | For Acceptance |  | WPTT | No |  | No
S723-IR-32 | Routine test report |  | Factory Acceptance Test (FAT) Records | No | For Information |  | WAT | No |  | No
S723-IR-36 | Manufacturer Record Book (MRB) |  | Manufacturer Record Book (MRB) | No | For Acceptance |  | WPTD | Yes |  | No | Ownership information Manufacturer Record Book index, if required, shall be provided in first revision of the document. When index agreed, Manufacturer Record Book content shall be provided in subsequent revision of the document.
S723-IR-34 | Installation Manual |  | Installation Manual | No | For Information |  | WPTD | No |  | No | Ownership information
S723-IR-46 | Maintenance manual |  | Maintenance manual | No | For Information |  | WPTD | No |  | No | Ownership information
S723-IR-47 | Operating manual |  | Operating manual | No | For Information |  | WPTD | No |  | No | Ownership information
S723-IR-50 | Compliance with local directives and regulations. For example, including but not limited to PED, ATEX, ASME, CRN |  | Declaration Of Conformity | No | For Acceptance |  | WAT | No |  | No
S723-IR-52 | Coating report | Required for CAS A and B | Painting And Coating Inspection Records | - | - |  | - | - |  | -
Purchase Order Specific Information Requirements

## Definitions
S-723L Information Requirements for Electric Process Heaters
Definitions
Column | Heading - Details and requirements
A | Code - a unique identifier for the Information Requirement assigned by IOGP JIP33 DigitalTool
B | Requirement - a short description of the Information Requirement that would typically provide the Information required, based on the description in the Parent Standard, IOGP Specification or an Industry Standard Title.
C | Description - an excerpt from the Parent Standard, IOGP Specification or Industry Standard.
D | Reference - reference to the Parent Standard, IOGP Specification or Industry Standard that the Information Deliverable is identified in.
E | Format - defines the required format of the relevant Information Requirement to be submitted by Supplier for Purchaser/Contractor for information and acceptance as shown in Table 9.1 of Instructions Tab and selected from pick list.
F | CFIHOS Discipline Document Type Code - the CFIHOS discipline document type that could be used to classify the document having this IRS content.
Col A | Col B | Col C | Col D | Col E | Col F
Code | Requirement | Description | Reference | Format | CFIHOS Discipline Document Type Code
Contract Management Information Deliverables
S723-IR-1 | Supplier master information schedule | Schedule of specific information deliverables developed by the [Vendor] and accepted by the [Purchaser] to meet the information requirements defined in the agreed Information Requirements Specification (IRS). The schedule typically defines; a. information deliverable type, title/description b. unique identification (code/number) in the [Vendor's] format unless agreed otherwise in the contract. c. planned submission arrangements including; purpose, formats, timing, frequency Arrangements for managing submissions, tracking progress and updating the schedule during the execution of the contract scope will be in accordance with contractual agreements. |  | Native | CFIHOS-70000099
S723-IR-2 | Delivery schedule | Schedule depicting, as applicable to the service or product scope, design, supply, manufacture, inspection, testing and delivery activities to be executed by [vendor/sub-vendors]. Schedule details typically** include; a) Contractual milestones b) Activity early/late start/completion dates, durations, dependencies (Calendar Dates) c) Critical path and float d) Outsourced services and equipment (cross referenced to purchase order and supplier) e) Information deliverable submission dates identifying any execution activity dependencies Progress against planned dates is measured and the schedule updated and reported to the [purchaser] in accordance with contract reporting agreements. ** Schedule development tools, formats and submission protocols follow the [vendor's] standard practice unless otherwise agreed in the contract. |  | PDF | CFIHOS-70000298
S723-IR-3 | Progress report | Report detailing activities completed in the period, percent complete against planned, activities planned for the next period, risks/areas of concern, cause of any delays and proposed recovery plans, concessions, internal and outsourced inspection and audit activities.. Note: may also include actionable items such as Health, Safety, Security & Environment (HSSE) incidents & status if required under the Contract. |  | PDF | CFIHOS-70000300
S723-IR-4 | Quality plan | Plan specifying the actions, responsibilities and associated resources to be applied by the supplier, and when applicable sub-supplier, to deliver the services or procured item(s) in conformance with the agreed requirements. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of quality plans for specific applications, processes or products. [API Spec Q2 may be used to inform the development of Service Quality Plans] |  | PDF
S723-IR-5 | Sub-Supplier List | Definition of processes, products or services that will be externally provided and the controls to be applied by the [vendor] to ensure conformance with agreed requirements. The schedule includes evidence of the basis of capability assessment , quality management system certification (or equivalent), process or product qualification for proposed suppliers of outsourced products and services when nominated in the Contract or Quality Requirements Specification (QRS) . Note: ISO 9001, API Specs Q1/Q2 define requirements for assessing risks and establishing controls for outsourced products and services. |  | Native
S723-IR-6 | Inspection and test plan for complete package | Tabular presentation of a quality plan typically used for process or product applications to define the specific sequence of operational activities, instructions, acceptance criteria records and associated [vendor], [purchaser] and independent conformity assessment activities. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of inspection and test plans for specific processes and products. |  | PDF | CFIHOS-70000180
S723-IR-7 | Handling, shipping, storage and preservation procedure | Definition of practices to be followed during the; storage, transport, lifting and preservation of the equipment and materials included in the scope of supply to maintain their functionality and guarantees. Procedures typically define: a. packaging requirements; contents, identification, size, weight and number of packages/container (s), b. special packing/unpacking/handling requirements c. storage location and requirements, d. preservation requirements detailing inspection periods and required maintenance, materials required etc., both prior to installation and post installation, but prior to commissioning. | 10.2, 10.3 | PDF | CFIHOS-70000154
S723-IR-8 | Non-conformance records | Details of non-conformances raised by or to the [vendor/sub-vendors] against technical requirements prior to or during the delivery of the products or services. Non-conformance is managed by the [vendor] in accordance with ISO 9001 Clause 8.7 and associated records typically include; description of non-conformance, analysis and disposition, correction implemented and details of any retesting or inspection taken to demonstrate subsequent conformance. Note: Instances where the proposed disposition is to accept a non-conforming condition are subject to agreement by the [purchaser] in accordance with the concession management protocols defined in the Contract. |  | PDF | CFIHOS-70000226
S723-IR-9 | Concession requests | Formal submission seeking [purchaser] agreement to accept deviations from the contracted scope or technical requirements. Requests may be raised as a result of, as examples, material or service availability, obsolescence, innovation, non-conformance. Requests are typically raised as required during execution with a summary report detailing concessions raised, [purchaser] directions, agreed action status provided with progress reports and at contract closeout |  | PDF | CFIHOS-70000389
Technical Information Deliverables
S723-IR-20 | Manufacturer Datasheet | To include information to be filled in by supplier in IOGP datasheet S-723D and following information as minimum but not limited: – Watt Density; – Number of heater elements per bundle; – Heater unit rated power output; – Number of heater stages per heater bundle; – Number of spare heater elements per heater bundle; – Sheath material; – Bite coupling (where provided) certification details; – Rated power output of each heater stage; – Number of on/off controlled heater stages; – Number of semiconductor controlled heater stages; – Configuration of heater stage elements; – Main terminal box material; – Hazardous area equipment classification (where applicable); – Auxiliary terminal box material; – Power and control assembly incoming device type and rating; – Heater stage isolation device rating; – Number of cooling fans; – Power and control assembly heat loss @ 100% rated output; – Weight of heater bundle; – Weight of power and control assembly. | 5.1.14, 5.3.5, 7.1.1, 7.1.2, 7.2.2, 7.6.1 | PDF | CFIHOS-70000416
S723-IR-22 | Bundle assembly general arrangement | Drawing shall include following information as minimum but not limited to: Plan, elevation, side view and overall dimensions of heater bundle assembly including terminal box; Overall dimensions of main components such as heater element (immersion length, diameter, wall thickness and quantity), tubesheet, terminal box; heating elements lay-out; Number and pitch of heater element baffle support; location of all fixed internals supports and guides required for insertion and removal of bundle in the vessel or tank ; Design pressure and temperature, bundle test pressure, corrosion allowance; Bundle weight and bundle removal space; Sheath to tubesheet sealing method (Seal welding, strength welding or bite coupling); Temperature detector type (e.g. thermocouple, RTD ), quantity and make; Material of construction of tubesheet, heater element sheath, terminal box , cable gland and gland plate ; Heater duty, watt density (Heat flux), hazardous area classification; Location of centre of gravity | 5.1.10, 5.1.11, 5.2.1, 5.3.1, 5.3.6, 5.6.1 | PDF | CFIHOS-70000153
S723-IR-25 | Power and control assembly general arrangement | The drawings shall be prepared in accordance with the following requirements: - Panel equipment layout - position of modules, cards, vacant slots and other information necessary for expansion or installation of new equipment in the same cabinet - Internal layout showing arrangement of auxiliary modules, cable trunks etc. - All equipment including junction boxes, push buttons, light fittings, socket outlets etc. - Dimensions - Necessary space for disassembly and maintenance - Location of centre of gravity - Possible thermal expansion - Foundation loading and panel support location - Power and control assembly weight - Lifting lug or eye bolt | 5.4.10, 7.1.10, 7.1.3, 7.1.4, 7.11.2, 7.2.3, 7.2.5, 7.3.3, 7.4.1, 7.4.2, 7.4.3, 7.4.4, 7.4.5, 7.4.6, 7.5.1, 8.1.1, 8.1.2, 8.1.5, 8.2.1, 8.2.2, 8.3.1, 8.3.3 | PDF | CFIHOS-70000153
S723-IR-26 | Mechanical design calculations | Document providing information about data, and basic conditions and assumptions used for selection of appropriate system solutions, parts or material, as well as the way these data have been processed and evaluated Mandatory content of information: – Calculation methods used; – Input data; – Results; – Analysis of the results. Optional content of information: – Case studies; – Verification of different technical solutions. To include but not limited to thickness calculations for: – tubesheet in accordance with design code and purchaser requirements; – lifting lugs. | 5.1.2, 5.6.2 | PDF | CFIHOS-70000086
S723-IR-21 | Thermal calculations | Calculations to support the thermal design. | 5.2.2 | PDF
S723-IR-24 | Bundle detail drawing | A detail drawing with parts list to facilitate dismantling, repair and assembly of parts and components shall be included. Relevant for assemblies and smaller components within assemblies. Parts list shall include functional part description and material description, and part number for each size/dimension. As a minimum drawing to include details of baffle supports, lifting lug and pulling attachments, Name plate and warning plate details. | 5.1.8, 5.2.2, 5.6.3 | PDF | CFIHOS-70000116
S723-IR-28 | Terminal box detail drawing | a diagram for equipment, panels, junction boxes, etc. identifies all connections and cable terminations at input/output rails. Required for removal/hook up purposes and modifications. To include vendor interfaces. | 5.1.11, 5.4.12, 5.4.17, 5.4.3, 5.4.4, 5.4.5, 5.4.7, 5.4.8 | PDF | CFIHOS-70000330
S723-IR-30 | Control schematics | a pictorial representation of the main elements and functions of a control circuit for electrical equipment with input/output sources (switches, relays etc.) and their relationships. Details logic functions of the circuit | 7.12.1, 7.12.2, 7.13.1, 7.5.1, 7.6.1, 7.6.2, 7.7.1, 7.8.1, 7.8.2, 7.8.4, 7.8.5, 7.9.2, 8.1.2, 8.1.3, 8.2.1, 8.2.2, 8.2.5, 8.3.4, 8.3.5 | PDF | CFIHOS-70000328
S723-IR-29 | Single line diagram | a diagram depicting the main equipment items (switchboards, transformers etc.) and their relationships within the facility electrical distribution system including details of fault levels and current and voltage ratings. | 7.7.3, 7.9.2 | PDF | CFIHOS-70000371
S723-IR-31 | Wiring diagram | Description: Diagram providing information on the circuitry of an object. Mandatory content of information: – Graphical symbols representing the objects; – Graphical symbols representing the connections among objects; – Reference designations; – Terminal designations; – Signal level conventions (applicable to logic signals). – Information necessary to trace paths and circuits (signal designations, location references) – Supplementary information necessary for the understanding of functions Optional content of information: – Technical data; – Reference to other documents; – Information about wiring performance; – Cable and cable core identification. | 5.1.8, 5.3.2, 7.10.1, 7.11.1, 7.11.2, 8.3.2, 8.3.6 | PDF | CFIHOS-70000268
S723-IR-41 | Ex Certification | Attestation issued by a recognised independent authority certifying that a type test has satisfied the specified standards; e.g. ATEX, BASEEFA, PTB, UL, CSA, NEMA, EX, etc. Examples of ratings include Intrinsically Safe & Explosion Proof. To include any special requirements for safe use, barrier/isolator to be used, etc. | 4.2.2, 4.2.5 | PDF | CFIHOS-70000160
S723-IR-35 | Materials Inspection Certificate (3.1) | A document with test results based on specific inspection and testing, issued by the Vendor and validated by the Vendor's authorised inspection representative independent of the manufacturing department. NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204 | 5.6.3 | PDF | CFIHOS-70000412
S723-IR-37 | Alloy verification | Detailed procedure for alloy verification of material. |  | PDF
S723-IR-38 | Pickling and passivation | Procedure describing cleaning of stainless steel surfaces and welds to restore their passive oxide film |  | PDF
S723-IR-53 | Power and control assembly bill of materials | List of parts, components and sub-assemblies for equipment with supplier part numbers, manufacturer part numbers, quantities, material designations and technical description. |  | PDF | CFIHOS-70000374
S723-IR-33 | Provided spare parts list | Table containing list items specifying the objects (parts, components, software, equipment, etc.) that are available or delivered as spare parts for later use. Mandatory content of information: – Item reference number; – Quantity; – Part number or global identifier (together with manufacturer / supplier); – Part name. Optional content of information: – Type designation; – Specifying technical data; – Descriptive technical data; – Mass, dimensions; – Reference to document; – Remark | 5.1.6 | PDF | CFIHOS-70000374
S723-IR-43 | Type test for power and control assembly | The results of test performed to provide evidence that the design meets the requirements of the functional specification.When specified, type test shall be independently verified by a third part and supported by a Certificate of Conformance. | 7.17.1, 7.17.2, 7.2.6, 9.3.1, 9.3.2, 9.3.3, 9.3.4 | PDF
S723-IR-42 | Sheath to tubesheet pressure test procedure | a procedure documenting specific steps to conduct inspection of an asset/object. Typically details boundaries of the test, isolations, method of pressurization, required hold intervals etc. Includes hydrostatic, pneumatic, vacuum and leak test/examinations | 9.2.4 | PDF | CFIHOS-70000286
S723-IR-48 | NDE of Sheath-to-tubesheet weld joint | NDE procedure for Sheath-to-tubesheet weld joint | 5.1.2 | PDF | CFIHOS-70000227
S723-IR-44 | Routine test procedure for heater bundle | Procedure documenting the manufacturers recommended testing activities and acceptance criteria according to applicable standards, specifications and requirements, to document the condition of the equipment as tested from factory. Procedure to define test set-up and test equipment. | 9.1, 9.2.1, 9.2.2, 9.2.3 | PDF
S723-IR-45 | Routine test procedure for power and control assembly | Procedure documenting the manufacturers recommended testing activities and acceptance criteria according to applicable standards, specifications and requirements, to document the condition of the equipment as tested from factory. Procedure to define test set-up and test equipment. | 7.2.1, 9.3.1, 9.3.2, 9.3.3, 9.3.4, 9.3.7 | PDF
S723-IR-32 | Routine test report | The FAT report will be used to verify that the equipment has been tested according to FAT procedure. The FAT report will be used for acceptance of the equipment delivery This document shall include all testing activities and their acceptance criteria according, , in accordance with the FAT procedure, to applicable standards, specifications and requirements,. to document the condition of the equipment as tested from factory. Test set-up and test equipment is shall be defined. | 7.2.1 | PDF
S723-IR-36 | Manufacturer Record Book (MRB) | Detailed information/description for the documents to be included in MRB as agreed between Purchaser and Supplier: Shall include but not be limited to documents Recording Compliance With Statutory and/or Local Regulations, and inspection and testing results / reports for all the testing (e.g. Mill tests on Material, production test coupon results, NDE, NDE personnel qualification, impact test, Heat treatment, leak testing, routine testing etc.) carried out at Supplier/Sub-Supplier shop and at mill. |  | PDF
S723-IR-34 | Installation Manual | Description of methods of installing a piece of equipment. Installation refers to the mounting, setting, erection, etc. NOTE: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a stand alone document. |  | PDF | CFIHOS-70000181
S723-IR-46 | Maintenance manual | Description of methods of maintaining a specific piece of equipment when in operation. |  | PDF | CFIHOS-70000206
S723-IR-47 | Operating manual | Description of methods of operating a piece of equipment or process unit, including but not limited to instructions, procedures, drawings, tables, etc. for the operation -stop, start, and emergency shutdown. Including operational limits, function testing, possible interruptions, corrective actions, hazards and corrective measures to be taken. |  | PDF | CFIHOS-70000228
S723-IR-50 | Compliance with local directives and regulations. For example, including but not limited to PED, ATEX, ASME, CRN | Declaration that contains sufficient information to enable a recipient of the declaration of conformity to identify the issuer of the declaration, the object of the declaration, the standards and other specified requirements with which conformity is declared, and the person signing for and on behalf of the issuer of the declaration of conformity (first party). Mandatory content of information: Please refer to ISO/IEC 17000, clause 5.5 and ISO/IEC 17050-1:2004. |  | PDF
S723-IR-52 | Coating report | This document is used for verification of compliance with surface protection and coating requirements. Document containing records of performed surface protection and coating work. | 5.4.13, 5.4.14, 5.4.15, 5.4.16 | PDF
Purchase Order Specific Information Requirements

## Pick Lists (hidden)
Deliverables Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Title | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s)� | Translation Required | Remarks
|  |  |  | Yes/No) | Purpose | (Weeks) | (Period) | Yes/No)
|  |  |  | Yes | For Information |  | WAD | Yes |  | Yes
|  |  |  | No | For Acceptance |  | WAI | No |  | No
|  |  |  | - | - |  | WAO | - |  | -
WAO (Monthly)
WAT
WPTD
WPTF
WPTT
-
Definitions Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F
Code | Title | Description | Reference | Format | CFIHOS Discipline Document Type Code
Hard Copy
Native
PDF
Intelligent Vector (CAD)
Multi media (Film)
Raster Image (Bitmap)
Structured Data (MS Apps)
Technical Publication (Text)
-
Note on K4: Chris Mitchell:
Note on L4: Chris Mitchell: