## Front & Preliminaries
|  |  |  | SPECIFICATION | October
|  |  |  | S-737L | 2021
Information Requirements for
Deluge Skids
Revision history
| VERSION | DATE | PURPOSE
| 1 | October 2021 | Issued for Use
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Programme 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
Please note that this publication is provided for informational purposes and
adoption of any of its recommendations is at the discretion of the user. Except as
explicitly stated otherwise, this publication must not be considered as a substitute
for government policies or decisions or reference to the relevant legislation relating
to information contained in it.
Where the publication contains a statement that it is to be used as an industry
standard, IOGP and its Members past, present, and future expressly disclaim all
liability in respect of all claims, losses or damages arising from the use or
application of the information contained in this publication in any industrial application.
Any reference to third party names is for appropriate acknowledgement of their
ownership and does not constitute a sponsorship or endorsement.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
S-737L Information Requirements for
Deluge Skids
Foreword
This specification was prepared under Joint Industry Programme 33 (JIP33) "Standardization of Equipment Specifications for Procurement" organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly agreed specification, building on recognized industry and international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focused standardization initiatives and provide step change benefits in the sector's capital projects performance.
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP's Competition Law Guidelines (November 2020).
S-737L Information Requirements for
Deluge Skids
Introduction
The purpose of this information requirements specification (IRS) is to define information requirements for the procurement of deluge skids in accordance with IOGP S-737 for application in the petroleum and natural gas industries. The IRS defines the information requirements, including format, timing and purpose, for information to be provided by the supplier. It also defines the specific conditions which must be met for conditional information requirements to become mandatory. The information requirements listed in the IRS provide references to the source of the requirement.
This IRS shall be used in conjunction with the specification (IOGP S-737), procurement data sheet (IOGP S-737D) and quality requirements specification (IOGP S-737Q) which together comprise the full set of specification documents. The introduction section in the specification provides further information on the purpose of each of these documents and the order of precedence for their use.
JIP33 Specification for Procurement Documents Information Requirements Specification

## Instructions
S-737L Information Requirements for
Deluge Skids
Instructions
In response to invitation to tender (ITT)
Suppliers shall submit information as defined in column E 'Submit At Proposal' in 'Requirements' sheet and in accordance with the ITT instructions.
On award of purchase order (PO)
Specified information requirements shall be submitted in accordance with the purchase order information submission instructions. Suppliers shall prepare and submit the supplier master information schedule (SMIS) incorporating information requirements in accordance with column F 'First Issue Post Purchase Order' in the 'Requirements' sheet. The supplier shall demonstrate compliance with each IRS requirement either: a) by providing document number cross reference to the requirement in the SMIS; or b) if specified in the purchase order, by using column J 'Fulfilled by Document Number(s)' in the 'Requirements' sheet.
On completion of scope
Suppliers shall validate that the information delivered meets the IRS requirements either: a) through cross reference to the deliverable type in a as-built version of the SMIS; or b) if specified in the purchase order, by providing an as-built version of the IRS with column J 'Fulfilled by Document Number(s)' in the 'Requirements' sheet populated with the specific document numbers issued to the purchaser.
IRS Structure Contents
| 1 | 'Front & Preliminaries' sheet
The 'Front & Preliminaries' sheet comprises the standard JIP33 introductory sections: IRS front sheet, revision history table, acknowledgements, disclaimer, copyright notice, foreword and introduction.
| 2 | 'Instructions' sheet
The 'Instructions' sheet provides instructions that suppliers shall follow in response to this IRS.
| 3 | 'Requirements' sheet
The 'Requirements' sheet lists information requested during tendering and shall be supplied following award of the PO.
The information requirements are grouped under three broad categories:
— Contract Management Information Requirements Key information requirements relating to planning, managing, assuring and reporting the execution of the technical scope.
— Technical Information Requirements Technical information developed by the supplier or their sub-suppliers, during the execution of the PO.
— Purchase Order Specific Information Requirements Information requirements specified by the purchaser in addition to those detailed by the IRS to meet specific operational, project or legislative requirements.
The 'Requirements' sheet comprises columns A to L.
Column A — 'Code' contains IOGP JIP33 unique record identification code specific to the individual information requirement for the particular equipment.
Column B — 'Information Requirements' contains data, documents or models to be provided by suppliers, based on the industry standard or IOGP JIP33 specification.
Column C — 'Condition Invoking Requirement' identifies any specific conditions under which the information requirement is deemed to be needed.
Column D — 'Typical Deliverable' is provided for the purchaser to identify the deliverable type that the information would typically appear within. This also allows the purchaser's requisitioning engineers to group the various information requirements by deliverable type. This column accommodates names from CFIHOS discipline-document types.
Column E — 'Submit At Proposal' (Yes / No) defines if the information requirement is requested to be submitted with the supplier's proposal. Preliminary information submitted at proposal shall be matured and delivered to the purchaser as per the PO and delivery times identified in column G 'Weeks' and column H 'Period'. As default, column ‘Submit At Proposal’ is prepopulated for CAS D procurement.
Column F — First Issue Post Purchase Order, 'Purpose' (For Information / For Acceptance) is prepopulated for CAS D procurement. 'For Information' means that information is issued for information only. 'For Acceptance' means that the information is issued for client, or delegated authorised person/organisation, to review and accept the content for use in further equipment development activities. Information acceptance does not relieve the supplier of any PO responsibility or liability.
Column G and Column H — First Issue Post Purchase Order, ('Weeks' and 'Period') include durations for the first issue of the deliverable with respect to specific activities.
|  |  |  | (Period) | Long description
|  |  |  | WAD | Weeks After Delivery
|  |  |  | WAI | Weeks After Inspection
|  |  |  | WAO | Weeks After Order
|  |  |  | WAO (Monthly) | Weeks After Order Monthly
|  |  |  | WAT | Weeks After Test
|  |  |  | WPTD | Weeks Prior To Delivery
|  |  |  | WPTF | Weeks Prior to Fabrication
|  |  |  | WPTT | Weeks Prior To Test
Table 1 — Information Submission Abbreviations
Column I — 'Required As Built' (Yes / No), where “Yes” chosen, identifies any information requirements that shall incorporate all changes that have been made to the procured equipment original information prior to the completion of the PO.
Column J — 'Fulfilled by Document Number(s)' shall be used by the supplier to demonstrate compliance with the information requirement either: a) by providing document number cross reference to the information requirement in the SMIS; or b) if specified in the PO, by using this column within IRS .
Column K — 'Translation Required' (Yes / No) Specifies if the information requirement shall be translated into another language additional to the main language specified in the PO. 'Yes' means the information requirement should be translated into other language(s) additional to the main language (to be advised in contractual documentation). 'No' means to be provided in main language only.
Column L — 'Remarks' may include additional information needed to clarify the information requirement.
| 4 | 'Definitions' sheet
The 'Definitions' sheet comprises columns A to F.
Column A — 'Code' contains the JIP33 unique record identification code specific to the individual information requirement for the particular equipment.
Column B — 'Information Requirements' contains data, documents or models to be provided by suppliers, based on the industry standard or IOGP JIP33 specification.
Column C — 'Description' provides a description of the information requirement based on an industry standard, or developed by IOGP JIP33 or JIP36 (CFIHOS).
Column D — 'Reference' gives a reference to the IOGP JIP33 specification where the information requirement is identified.
Column E — 'Format' identifies the format of the relevant information deliverable to be submitted by the supplier as described in Table 2 below. Note: Project or software specific formats shall be specified by the purchaser by means of their hand over specifications.​
| Drop-down value​ |  | Definition​ |  |  | CFIHOS ID​
| Native​ |  | A native file is the default file format that a software application is designed to work with.​ |  |  | CFIHOS-60000835​
| PDF​ |  | A universal file format developed by Adobe® and standardized as ISO 32000 which preserves all the fonts, formatting, graphics, and colour of any source document, regardless of the application and platform used to create it. PDF’s must be in Optical Character Recognition (OCR) format which is text searchable and indexed. ​ |  |  | CFIHOS-60000933​
| Hardcopy​ |  | A permanent reproduction or copy of data which cannot be easily edited or manipulated, in the form of a physical object, of any media suitable for direct use by a person (e.g. paper).​ |  |  | CFIHOS-10000123​
Table 2 — Deliverable Formats
Column F — 'CFIHOS Discipline Document Type Code' relates to the CFIHOS discipline document type that is used to classify the document having this IRS content.
| 5 | Abbreviations and definitions
The following abbreviations, terms and definitions have been used in the various sheets of this workbook.
| buyer |  | organisation placing a contract or purchase order with supplier for equipment or services on project; may be alternatively referred to as 'user' or 'purchaser'
| CFIHOS |  | Capital Facilities Information Hand Over Specification
| company |  | project operating entity or the organisation the contractor is under contract to
| contractor |  | project contractor responsible for procuring equipment.
| information |  | data, documents and/or models
| IRS |  | information requirements specification
| PO |  | purchase order
| QRS |  | quality requirements specification
| SMIS |  | supplier master Information schedule
| supplier |  | organisation supplying equipment or services to the company and/or contractor on project; may alternatively be referred to as "vendor", "seller" or “manufacturer”.
| 6 | CFIHOS
The information requirements in the IRS are classified according to the IOGP JIP36 Capital Facilities Information Hand Over Specification (CFIHOS). The objective of mapping JIP33 IRS information requirements to CFIHOS is to facilitate value delivery across the supply chain through increased digitalization. ​Further information on CFIHOS can be found at:
https://www.jip36-cfihos.org
| 7 | Document metadata
Typical metadata for Information deliverables to be provided by suppliers in the SMIS is shown in Table 3 below. Metadata listed below are as per CFIHOS defined document properties (metadata) defined in CFIHOS C-SP-001 CFIHOS Specification Document, chapter Document properties (metadata).
| Name |  |  | Definition |  |  | CFIHOS unique ID
| Document number |  |  | The document master to which this revision is related |  |  | CFIHOS-10000154
| Document revision code |  |  | A code used to identify the content of a document at a certain point in time. |  |  | CFIHOS-10000162
| Document title |  |  | A description, in a short and concise manner, of the content of the document |  |  | CFIHOS-10000168
| Document revision date |  |  | The date the document was revised |  |  | CFIHOS-10000076
| Originator company |  |  | The name of the company who has generated the document revision |  |  | CFIHOS-10000077
| Document revision author |  |  | The name of the person who created the document revision |  |  | CFIHOS-10000078
| Document revision approver |  |  | The name (or the User ID) of the person who has approved the document revision |  |  | CFIHOS-10000079
| Document revision file name |  |  | The name of the electronic file (including the file extension) with the full path. When this attribute is populated the attribute physical storage location shall be left empty. |  |  | CFIHOS-10000080
| Originator document number |  |  | The unique identifier for the Document according to the originator document numbering scheme. |  |  | CFIHOS-10000160
| Originator document revision code |  |  | A code used to identify the content of a document at a certain point in time according to the originator which doesn't necessarily conform to the Owner/Operator's document revision coding scheme. |  |  | CFIHOS-10000081
| Document status code |  |  | The status of the document revision |  |  | CFIHOS-10000083
| ISO language code |  |  | The primary language that the document revision is written in. |  |  | CFIHOS-10000147
| Discipline document type short code |  |  | At alternate way of identifying uniquely a combination of discipline and document type |  |  | CFIHOS-10000207
| Project code |  |  | The code that identifies the project the document revision refers to. |  |  | CFIHOS-10000161
| Document revision comment |  |  | Any additional comment / explanation for a document revision. |  |  | CFIHOS-10000085
| Plant code |  |  | The plant that the document revision is related to. |  |  | CFIHOS-10000005
| Export control classification |  |  | The Export Control Rule that is applicable for the document revision (e.g., ECCN, EAR). |  |  | CFIHOS-10000086
| Transmittal number |  |  | The transmittal through which this document revision was communicated. |  |  | CFIHOS-10000087
| Security classification |  |  | Indicates internal Owner-Operator access restriction applicable for the document |  |  | TBA
Table 3 — Supplier Deliverable Metadata

## Requirements
S-737L Information Requirements for Deluge Skids
Requirements
Column | Heading — Details and requirements
A | Code — Contains IOGP JIP33 unique record identification code specific to the individual information requirement for the particular equipment.
B | Requirement — Contains data, documents or models to be provided by suppliers, based on the industry standard or IOGP JIP33 specification.
C | Condition Invoking Requirement — Describes condition(s) under which the information requirement is required (e.g. service offshore and weight greater than one tonne means information is required). Note: if blank, always required.
D | Typical Deliverable — Purchaser to advise the short description of the information deliverable that would typically include this information requirement
E | Submit At Proposal — 'Yes' or 'No', where ‘Yes' means the information requirement is required to be submitted with the supplier's proposal or 'No' is not required.
F, G & H | First Issue Post Purchase Order — Issue purpose ('For Information' or 'For Acceptance'), time in weeks for issue of the information requirement and period defined after the purchase order placement. See the 'Instructions' sheet, Table 1 for full description of codes use in column H 'Period'.
I | Required As Built — Any information incorporating all changes that have been made to the procured equipment original information prior to the completion of the purchase order.
J | Fulfilled by Information Deliverable Number(s) — Identifies which information requirement(s) listed in the supplier master information schedule (SMIS) addresses the purchaser's requirements. Note: It should be noted that one information deliverable can fulfil more than one information requirement.
K | Translation Required — 'Yes' or 'No', specifies if the information requirement shall be translated into another language additional to the main language specified in the purchase order.
L | Remarks — Additional information needed to clarify the information requirement.
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Requirement | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | (Yes/No) | Purpose | (Weeks) | (Period) | (Yes/No)
Contract Management Information Deliverables
S737-IR-1 | Supplier master information schedule |  | Information Deliverables List | Yes | For Acceptance |  | - | - |  | -
S737-IR-2 | Delivery schedule |  | Delivery/Production Schedule | Yes | For Information |  | - | - |  | -
S737-IR-3 | Progress report |  | Progress Report | No | For Information |  | - | - |  | -
S737-IR-4 | Quality plan | Required for CAS A, CAS B, CAS C | Quality Plan | - | - |  | - | - |  | -
S737-IR-5 | Sub-vendor delivery schedule |  | Sub-Supplier List | Yes | For Information |  | - | - |  | -
S737-IR-6 | Inspection and test plan for complete package |  | Inspection and Test Plan (ITP) | Yes | For Acceptance |  | - | - |  | -
S737-IR-8 | Non-conformance records |  | Non-conformance records | No | For Acceptance |  | - | - |  | -
S737-IR-9 | Concession requests |  | Concession request | No | For Acceptance |  | - | - |  | -
S737-IR-47 | Packing List |  | Packing List | No | For Information |  | - | - |  | -
Technical Information Deliverables
Certificates
S737-IR-22 | Calibration Certificate |  | Calibration Certificate | No | For Information |  | - | - |  | -
S737-IR-76 | Certificate Of Conformance - third party |  | Certificate Of Conformance | No | For Information |  | - | - |  | -
S737-IR-24 | Declaration Of Conformity |  | Declaration Of Conformity | No | For Information |  | - | - |  | -
S737-IR-25 | Hazardous Area Certificate (Type) |  | Hazardous Area Certificate (Type) | No | For Acceptance |  | - | - |  | -
S737-IR-26 | Lifting Equipment Test Certificate |  | Lifting Equipment Test Certificate | No | For Acceptance |  | - | - |  | -
S737-IR-27 | Material Declaration Of Conformity (2.1) |  | Material Declaration Of Conformity (2.1) | No | For Acceptance |  | - | - |  | -
S737-IR-28 | Materials Inspection Certificate (3.1) |  | Materials Inspection Certificate (3.1) | No | For Acceptance |  | - | - |  | -
S737-IR-31 | Safety Integrity Level (SIL) Certificate |  | Safety Integrity Level (SIL) Certificate | Yes | For Acceptance |  | - | - |  | -
S737-IR-32 | Weight Certificate | if weight > 1000 kg | Weight Certificate | No | For Information |  | - | - |  | -
S737-IR-101 | Explosion Protection Certificate |  | Hazardous Area Certificate (Type) | Yes | For Acceptance |  | - | - |  | -
S737-IR-104 | Passive Fire Protection Performance Certificate |  | Fire Test Certificate | No | For Information |  | - | - |  | -
S737-IR-102 | Pressure Vessel Certificate (for reserve air cylinders) |  | Certificate Of Conformance | No | For Information |  | - | - |  | -
S737-IR-103 | Cable certificates |  | Materials Inspection Certificate (3.1) | Yes | For Acceptance |  | - | - |  | -
Data
S737-IR-75 | Instrument Datasheet |  | Manufacturer Datasheet | No | For Acceptance |  | - | - |  | -
S737-IR-34 | Manufacturer Datasheet |  | Manufacturer Datasheet | Yes | For Acceptance |  | - | - |  | -
S737-IR-36 | Noise data sheet |  | Noise data sheet | No | For Acceptance |  | - | - |  | -
S737-IR-35 | Material Safety Data Sheet |  | Safety Datasheet | No | For Information |  | - | - |  | -
Drawings & Diagrams
S737-IR-37 | Detailed Drawing |  | Detailed Drawing | No | For Acceptance |  | - | - |  | -
S737-IR-20 | General Arrangement Diagram Deluge Skid |  | General Arrangement Diagram | Yes | For Acceptance |  | - | - |  | -
S737-IR-40 | Piping And Instrumentation Diagram |  | Piping And Instrumentation Diagram | Yes | For Acceptance |  | - | - |  | -
S737-IR-72 | Termination Diagram |  | Termination Diagram | No | For Acceptance |  | - | - |  | -
S737-IR-41 | Wiring Diagram |  | Wiring Diagram | No | For Acceptance |  | - | - |  | -
Lists
S737-IR-42 | Cable List |  | Cable List | No | For Acceptance |  | - | - |  | -
S737-IR-97 | Electrical Load List | If electrical foam pump or air compressor is supplied | Electrical Load List | Yes | For Acceptance |  | - | - |  | -
S737-IR-43 | Equipment List |  | Equipment List | No | For Acceptance |  | - | - |  | -
S737-IR-44 | Instrument List |  | Instrument List | No | For Acceptance |  | - | - |  | -
S737-IR-45 | Lubrication List |  | Lubrication List | No | For Information |  | - | - |  | -
S737-IR-46 | Manual Valve List |  | Manual Valve List | No | For Acceptance |  | - | - |  | -
S737-IR-48 | Piping Line List |  | Piping Line List | No | For Acceptance |  | - | - |  | -
S737-IR-49 | Spare Part List |  | Spare Part List | No | For Acceptance |  | - | - |  | -
S737-IR-50 | Special Tools List |  | Special Tools List | No | For Information |  | - | - |  | -
S737-IR-96 | Utility Consumption List |  | Consumption Data and Load List | Yes | For Acceptance |  | - | - |  | -
S737-IR-105 | Input, Output List |  | Input, Output List | No | For Information |  | - | - |  | -
Manuals and MRB
S737-IR-54 | Installation Manual |  | Installation Manual | No | For Acceptance |  | - | - |  | - | Installation Manual index, if required, should be provided in first revision of the document. When index agreed, Installation manual content shall be provided in subsequent revision of the document.
S737-IR-55 | Maintenance Manual |  | Maintenance Manual | No | For Acceptance |  | - | - |  | - | Maintenance Manual index, if required, should be provided in first revision of the document. When index agreed, Maintenance manual content shall be provided in subsequent revision of the document.
S737-IR-66 | Manufacturer Record Book (MRB) |  | Manufacturer Record Book (MRB) | No | For Acceptance |  | - | - |  | - | Manufacturer Record Book index, if required, shall be provided in first revision of the document. When index agreed, Manufacturer Record Book content shall be provided in subsequent revision of the document.
S737-IR-56 | Operating Manual |  | Operating Manual | No | For Acceptance |  | - | - |  | - | Operating Manual index, if required, should be provided in first revision of the document. When index agreed, Operating manual content shall be provided in subsequent revision of the document.
S737-IR-57 | Safety Manual | If SIL is required in the datasheet | Safety Manual | No | For Acceptance |  | - | - |  | -
Procedures
S737-IR-53 | Commissioning and start-up procedure |  | Commissioning instruction | No | For Acceptance |  | - | - |  | -
S737-IR-58 | Factory Acceptance Test (FAT) Procedure |  | Factory Acceptance Test (FAT) Procedure | No | For Acceptance |  | - | - |  | -
S737-IR-77 | Lifting and Installation Procedure |  | Lifting Procedure | No | For Acceptance |  | - | - |  | -
S737-IR-61 | Painting And Coating Procedure |  | Painting And Coating Procedure | No | For Acceptance |  | - | - |  | -
S737-IR-74 | Pressure Test Procedure |  | Pressure Test Procedure | No | For Acceptance |  | - | - |  | -
S737-IR-78 | Packing, Marking and Preservation Procedure |  | Handling, shipping and storage procedure | No | For Acceptance |  | - | - |  | -
Records
S737-IR-65 | Factory Acceptance Test (FAT) Records |  | Factory Acceptance Test (FAT) Records | No | For Acceptance |  | - | - |  | -
S737-IR-67 | Painting And Coating Inspection Records |  | Painting And Coating Inspection Records | No | For Acceptance |  | - | - |  | -
Reports
S737-IR-91 | Material Traceability Report |  | Material Traceability Report | No | For Acceptance |  | - | - |  | -
S737-IR-92 | Materials Test Report (2.2) |  | Materials Test Report (2.2) | No | For Acceptance |  | - | - |  | -
S737-IR-93 | Pressure Test Report |  | Pressure Test Report | No | For Acceptance |  | - | - |  | -
S737-IR-94 | Safety Analysis Input To Safety Analysis Report | If SIL is required in the datasheet | Safety Analyse Input To Safety Analysis Report | No | For Acceptance |  | - | - |  | -
S737-IR-95 | Structural Design Report |  | Design Review Report | No | For Information |  | - | - |  | -
S737-IR-98 | Foam pump performance test graph and report |  | Inspection report | No | For Information |  | - | - |  | -
S737-IR-99 | Hydraulic calculations report |  | Hydraulic calculation | No | For Information |  | - | - |  | -
S737-IR-100 | Orifice calculations report |  | Instrument calculations | No | For Information |  | - | - |  | -
Welding Technical Information Deliverables
S737-IR-79 | Laboratory accreditation certificate |  | Certificate Of Conformance | No | For Information |  | - | - |  | -
S737-IR-80 | Non Destructive Examination (NDE) Personnel Qualification |  | Non Destructive Examination (NDE) Personnel Qualification | No | For Information |  | - | - |  | -
S737-IR-90 | Non-Destructive Examination (NDE) Report |  | Non-Destructive Examination (NDE) Report | No | For Information |  | - | - |  | -
S737-IR-89 | Non Destructive Test Procedure |  | Non Destructive Test Procedure | No | For Acceptance |  | - | - |  | -
S737-IR-81 | Production parameter monitoring record |  | Check sheet | No | For Information |  | - | - |  | -
S737-IR-82 | Welder Qualification Certificate |  | Welder Qualification Certificate | No | For Information |  | - | - |  | -
S737-IR-83 | Welding Coordinator Qualification |  | Welder Qualification Certificate | No | For Information |  | - | - |  | -
S737-IR-84 | Welding Inspector Qualification |  | Welder Qualification Certificate | No | For Information |  | - | - |  | -
S737-IR-85 | Welding Procedure Qualification Record |  | Welding Procedure Qualification Record | No | For Acceptance |  | - | - |  | -
S737-IR-86 | Welding Procedure Specification |  | Welding Procedure Specification | No | For Acceptance |  | - | - |  | -
S737-IR-87 | Welding Traceability Records |  | Welding Traceability Records | No | For Acceptance |  | - | - |  | -
S737-IR-88 | Welding Repair Procedure |  | Welding Repair Procedure | No | For Acceptance |  | - | - |  | -
Purchase Order Specific Information Requirements

## Definitions
S-737L Information Requirements for Deluge Skids
Definitions
Column | Heading — Details and requirements
A | Code — Contains IOGP JIP33 unique record identification code specific to the individual information requirement for the particular equipment.
B | Requirement — Contains data, documents or models to be provided by suppliers, based on the industry standard or IOGP JIP33 specification.
C | Description — Provides a description of the information requirement based on an industry standard, or developed by IOGP JIP33 or JIP36 (CFIHOS).
D | Reference — Reference to the IOGP JIP33 specification where the information requirement is identified.
E | Format — Defines the required format of the relevant information requirement to be submitted by the supplier.
F | CFIHOS Discipline Document Type Code — CFIHOS discipline document type code that is used to classify the document having this IRS content.
Col A | Col B | Col C | Col D | Col E | Col F
Code | Requirement | Description | Reference | Format | CFIHOS Discipline Document Type Code
Contract Management Information Deliverables
S737-IR-1 | Supplier master information schedule | Schedule of specific information deliverables developed by the [Vendor] and accepted by the [Purchaser] to meet the information requirements defined in the agreed Information Requirements Specification (IRS). The schedule typically defines; a. information deliverable type, title/description b. unique identification (code/number) in the [Vendor's] format unless agreed otherwise in the contract. c. planned submission arrangements including; purpose, formats, timing, frequency Arrangements for managing submissions, tracking progress and updating the schedule during the execution of the contract scope will be in accordance with contractual agreements. |  | Native | CFIHOS-70000099
S737-IR-2 | Delivery schedule | Schedule depicting, as applicable to the service or product scope, design, supply, manufacture, inspection, testing and delivery activities to be executed by [vendor/sub-vendors]. Schedule details typically** include; a) Contractual milestones b) Activity early/late start/completion dates, durations, dependencies (Calendar Dates) c) Critical path and float d) Outsourced services and equipment (cross referenced to purchase order and supplier) e) Information deliverable submission dates identifying any execution activity dependencies Progress against planned dates is measured and the schedule updated and reported to the [purchaser] in accordance with contract reporting agreements. ** Schedule development tools, formats and submission protocols follow the [vendor's] standard practice unless otherwise agreed in the contract. |  | PDF | CFIHOS-70000298
S737-IR-3 | Progress report | Report detailing activities completed in the period, percent complete against planned, activities planned for the next period, risks/areas of concern, cause of any delays and proposed recovery plans, concessions, internal and outsourced inspection and audit activities.. Note: may also include actionable items such as Health, Safety, Security & Environment (HSSE) incidents & status if required under the Contract. |  | PDF | CFIHOS-70000300
S737-IR-4 | Quality plan | Plan specifying the actions, responsibilities and associated resources to be applied by the [vendor], and when applicable [sub-vendors] or [manufacturers], to deliver the services or procured item(s) in conformance with the agreed requirements. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of quality plans for specific applications, processes or products. [API Spec Q2 may be used to inform the development of Service Quality Plans] |  | PDF
S737-IR-5 | Sub-vendor delivery schedule | Definition of processes, products or services that will be externally provided and the controls to be applied by the [vendor] to ensure conformance with agreed requirements. The schedule includes evidence of the basis of capability assessment , quality management system certification (or equivalent), process or product qualification for proposed suppliers of outsourced products and services when nominated in the Contract or Quality Requirements Specification (QRS) . Note: ISO 9001, API Specs Q1/Q2 define requirements for assessing risks and establishing controls for outsourced products and services. |  | Native
S737-IR-6 | Inspection and test plan for complete package | Tabular presentation of a quality plan typically used for process or product applications to define the specific sequence of operational activities, instructions, acceptance criteria records and associated [vendor], [purchaser] and independent conformity assessment activities. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of inspection and test plans for specific processes and products. |  | PDF | CFIHOS-70000180
S737-IR-8 | Non-conformance records | Details of non-conformances raised by or to the [vendor/sub-vendors] against technical requirements prior to or during the delivery of the products or services. Non-conformance is managed by the [vendor] in accordance with ISO 9001 Clause 8.7 and associated records typically include; description of non-conformance, analysis and disposition, correction implemented and details of any retesting or inspection taken to demonstrate subsequent conformance. Note: Instances where the proposed disposition is to accept a non-conforming condition are subject to agreement by the [purchaser] in accordance with the concession management protocols defined in the Contract. |  | PDF | CFIHOS-70000226
S737-IR-9 | Concession requests | Formal submission seeking [purchaser] agreement to accept deviations from the contracted scope or technical requirements. Requests may be raised as a result of, as examples, material or service availability, obsolescence, innovation, non-conformance. Requests are typically raised as required during execution with a summary report detailing concessions raised, [purchaser] directions, agreed action status provided with progress reports and at contract closeout |  | PDF | CFIHOS-70000389
S737-IR-47 | Packing List | A list describing the contents of a shipment received. Synonyms: Inventory, packing slip, bill of lading. |  | PDF | CFIHOS-70000269
Technical Information Deliverables
Certificates
S737-IR-22 | Calibration Certificate | Certification of calibration results to ISO 17025 or equivalent, including Common requirements for reports (clause ISO 17025, 7.8.2) and, a) the measurement uncertainty of the measurement result presented in the same unit as that of the measurand or in a term relative to the measurand (e.g. percent); quantity value including unit of measurement and a measurement uncertainty. b) the conditions (e.g. environmental) under which the calibrations were made that have an influence on the measurement results; c) a statement identifying how the measurements are metrologically traceable (see ISO 17025, Annex A); d) the results before and after any adjustment or repair, if available; e) where relevant, a statement of conformity with requirements or specifications (see ISO 17025, 7.8.6); f) where appropriate, opinions and interpretations (see ISO 17025, 7.8.7). | 5.7 | PDF | CFIHOS-70000415
S737-IR-76 | Certificate Of Conformance - third party | A statement of conformity where attestation is performed by the person or body that is independent of the person or organization that provides the object, and of user interests in that object (third party). Includes ingress protection certificates for instruments. Certification for CE Marking, UL/FM Type Tests, ATEX etc. | 5.4.3.1.7, 5.4.3.1.8, 5.4.3.2.1, 5.4.3.2.2, 5.4.3.2.3, 5.4.3.2.4, 5.4.4.1, 5.4.4.2, 5.7 | PDF | CFIHOS-70000013
S737-IR-24 | Declaration Of Conformity | Declaration that contains sufficient information to enable an recipient of the declaration of conformity to identify the issuer of the declaration, the object of the declaration, the standards and other specified requirements with which conformity is declared, and the person signing for and on behalf of the issuer of the declaration of conformity (first party). Mandatory content of information: Please refer to ISO/IEC 17000, clause 5.5 and ISO/IEC 17050-1:2004. | 4.3, 5.4.3.1.3, 5.4.3.3.1, 5.4.3.3.2, 5.4.3.3.3 | PDF
S737-IR-25 | Hazardous Area Certificate (Type) | Attestation issued by a recognised independent authority certifying that a type test has satisfied the specified standards; e.g. ATEX, BASEEFA, PTB, UL, CSA, NEMA, EX, etc. Examples of ratings include Intrinsically Safe & Explosion Proof. To include any special requirements for safe use, barrier/isolator to be used, etc. | 5.4.3.1.8 | PDF | CFIHOS-70000160
S737-IR-26 | Lifting Equipment Test Certificate | Certificate to prove that the item can be used as lifting gear in accordance with an applicable standard. This will include slings, shackles, lifting frames, lifting instructions etc. To confirm that the equipment can be safely used for lifting and handling for the applicable load stated. All lifting equipment shall be certified by a Competent Enterprise approved by local authorities and approved by Company. The certification shall be documented with an ILO certificate form No 2 or No.3 or similar form according to ILO convention 152. | 12.1 | PDF
S737-IR-27 | Material Declaration Of Conformity (2.1) | A document in which the supplier declares that the products supplied are in compliance with the requirements of the PO, without inclusion of any test results. NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204. | 4.1.2, 4.1.3, 4.7.5, 4.7.6, 5.1.1.1, 5.2, 5.4.3.1.8, 5.4.3.2.1, 5.4.3.2.2, 5.4.3.2.3, 5.4.3.2.4, 5.4.4.1, 5.4.4.2, 5.7, 6.2.3.5.2 | PDF | CFIHOS-70000412
S737-IR-28 | Materials Inspection Certificate (3.1) | A document with test results based on specific inspection and testing, issued by the Manufacturer and validated by the Manufacturer's authorised inspection representative independent of the manufacturing department. NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204. | 4.1.2, 4.1.3, 5.1.1.1 | PDF | CFIHOS-70000412
S737-IR-31 | Safety Integrity Level (SIL) Certificate | This document shall verify the level of SIL. This document shall provide input to Safety Analysis Report. This document shall include necessary performance data according to authority regulations and a Safety Manual | 4.8 | PDF
S737-IR-32 | Weight Certificate | independent certification of correct gross weight for a piece of equipment including packing materials. This typically should also document the centre of gravity. Source ISO 19901-5. | 4.7.7 | PDF | CFIHOS-70000358
S737-IR-101 | Explosion Protection Certificate | Certification proving the explosion performance of the panel. Typically issued by an independent body. | 5.4.3.1.6, 5.4.3.1.7 | PDF
S737-IR-104 | Passive Fire Protection Performance Certificate | Certificate or documentation proving the performance and minimum application requirements for passive fire protection to achieve the stated rating. |  | PDF
S737-IR-102 | Pressure Vessel Certificate (for reserve air cylinders) | A statement of conformity where attestation is performed by the person or body that is independent of the person or organization that provides the object, and of user interests in that object (third party). This includes the UL 1558 certification (listing mark). | 5.5.1.1.1 | PDF
S737-IR-103 | Cable certificates | A document with test results based on specific inspection and testing, issued by the Manufacturer and validated by the Manufacturer's authorised inspection representative independent of the manufacturing department. |  | PDF | CFIHOS-70000412
Data
S737-IR-75 | Instrument Datasheet | Document providing information on technical data and characteristics about material, products or systems and their environment for proper implementation. This document provides structured data form containing part number/model, design information, operational data and limitations of the equipment. Document shall provide information on technical data and characteristics about material, products or systems and their environment for proper implementation. | 5.10, 6.3.1.1, 6.3.1.2, 6.3.1.3 | PDF | CFIHOS-70000416
S737-IR-34 | Manufacturer Datasheet | Document shall provide information on technical data (e.g. pump, including performance curve, accumulator, etc.) and characteristics about material, products or systems and their environment for proper implementation. This document provides structured data form containing part number/model, design information, operational data and limitations of the equipment. | 4.1.1, 4.5, 5.1.1.2, 5.1.2.2, 5.1.2.3, 5.1.3.1, 5.1.3.2, 5.1.3.3, 5.10, 5.2, 5.4.3.1.3, 5.4.3.1.4, 5.4.3.1.5, 5.4.3.1.6, 5.4.3.1.8, 5.4.3.2.1, 5.4.3.2.2, 5.4.3.2.3, 5.4.3.2.4, 5.4.3.3.1, 5.4.3.3.2, 5.4.3.3.3, 5.6.1.1, 5.6.1.2, 5.6.2.1, 5.8.1, 5.9 | PDF | CFIHOS-70000416
S737-IR-36 | Noise data sheet | The equipment noise data sheet shall contain all the information that the equipment supplier requires to understand, comply with and measure compliance with, and the noise limits for the equipment to be supplied. The equipment noise data sheet shall be returned with the tender, with its guarantee section completed by the supplier, giving the following information: a) unsilenced sound power and sound pressure levels in octave bands, and the A-weighted overall levels of the equipment; b) sound power and sound pressure levels in octave-bands, and the A-weighted overall levels of the equipment, together with details of any silencing measures that are necessary to meet the specified noise limits; c) the minimum attainable sound power and sound pressure levels in octave bands, and the A-weighted overall levels, if the specified limits cannot be met; d) details of any tonal, impulsive, intermittent or fluctuating noise levels. Additionally the following information shall be given, where applicable: e) completed data/requisition sheets of any silencers and/or acoustic enclosures, if the tender comprises such silencing equipment. |  | PDF
S737-IR-35 | Material Safety Data Sheet | ISO 11014 Safety data sheet for chemical products. A structured form containing information on the safety, health and environmental protection aspects of the material, including protective measures and emergency actions. SDS shall be according to local/national regulations and in the official language plant is/will be operated, or in English if accepted by local authorities. A collection of Safety Data Sheets (SDS) shall be delivered to Company, for chemicals delivered as part of equipment, as first fill or used for preservation before operation. The report shall include one SDS per unique chemical trade name. A cross reference table with each unique chemical trade name, equipment tag number(s) and SDS file name shall also be included. | 5.1.1.1 | PDF | CFIHOS-70000211
Drawings & Diagrams
S737-IR-37 | Detailed Drawing | Drawing showing parts of a construction or a component, generally enlarged, and including specific information about the form and construction or about the assembly and joints Also supports other documents where a cross-sectional view or part list is necessary for clarity. A view or drawing that shows what the inside of equipment looks like after a cross-sectional cut has been made. | 5.5.1.1.1, 5.5.1.1.5, 5.5.1.1.6, 5.5.1.1.7, 5.5.1.2.1, 5.5.1.2.2, 5.5.1.2.3, 6.2.3.5.2, Figure 2, Figure 3, Figure 4 | PDF | CFIHOS-70000116
S737-IR-20 | General Arrangement Diagram Deluge Skid | A drawing showing overall dimensions, critical interface dimensions, part references and weight of assemblies, equipment and components. The drawing shall contain reference to main specifications and standards. For equipment / components the drawing may include cross sectional views. A drawing showing overall dimensions, critical interface dimensions, part references and weight of assemblies, equipment and components. The drawing shall contain reference to main specifications and standards For equipment / components the drawing may include cross sectional views. Document may contain the following information: a. main dimensions; b. interface connections; c. weight; d. center of gravity; e. withdrawal/installation and maintenance space; f. installation and mounting details; g. lifting arrangement. NOTE 1) Interface connections shall include an external piping interface table with the following information; 1. a unique identifier; 2. the line size; 3. the pressure rating; 4. the connection type; 5. the maximum allowable interface loads. NOTE 2) Installation and mounting details shall include a foundation plan with the following information; 1. location of support point relative to datum point 2. length, width and thickness of foundation plate 3. location and size of anchor bolts 4. location and size/type of AVMs if included in package 5. foundation reaction forces for all load cases | 12.2, 4.1.1, 4.4.1, 4.4.2, 4.4.3, 5.4.2.1, 5.4.2.2, 5.4.2.3, 5.4.5.2, 5.4.5.3, 5.4.6.2, 5.4.6.3, 5.4.7.1, 5.4.7.2, 5.4.7.3, 5.4.7.5, 5.4.7.6, 5.4.8.1, 5.4.8.2, 5.4.8.4, 5.5.1.1.1, 5.5.1.1.5, 5.5.1.1.6, 5.5.1.1.7, 5.5.1.2.1, 5.5.1.2.2, 5.5.1.2.3, 5.5.2.1, 5.5.2.2, 5.8.3, 5.8.4, 6.2.1.2, 6.2.1.3, 6.2.1.4, 6.2.3.1.1, 6.2.3.2, 6.2.3.4.1, 6.2.3.4.2, 6.2.3.5.1, 6.3.3.2, 6.4.5, 6.4.8, 8.2.3, Figure 2, Figure 3, Figure 4 | PDF | CFIHOS-70000153
S737-IR-40 | Piping And Instrumentation Diagram | Description: The piping and instrument diagram (P&ID), based on the process flow diagram, represents the technical realization of a process by means of graphical symbols for equipment and piping together with graphical symbols or process measurement and control functions. Mandatory content of information: – Function or type of equipment, including drives, conveyors, as well as installed spares; – Identification number of equipment including drives, conveyors as well as installed spares; – Characteristic data of equipment; – Indication of nominal diameter, pressure rating, material and type of piping; – Details of equipment, piping, valves and fittings, thermal insulation; – Process measurement and control functions with identification number; – Characteristic data of drives. Optional content of information: – Denomination of flow rates and amounts of energy or energy carriers; – Route and direction of flow of energy or energy carriers; – Type of essential primary elements and sensors; – Essential construction materials for equipment; – Elevation of platforms and approximate relative vertical position of equipment; – Reference designation for valves and fittings; – Customers' tag number; – Denomination of equipment. | 4.4.3, 4.4.4, 5.1.2.1, 5.10, 5.6.1.3, 5.6.2.2, 5.8.2, 5.8.5, 5.8.6, 5.8.7, 5.8.8, 6.1.1, 6.1.2, 6.2.1.1, 6.2.1.2, 6.2.1.3, 6.2.1.4, 6.2.2.1, 6.2.2.2, 6.2.2.3, 6.2.2.4, 6.2.2.5, 6.2.3.1.1, 6.2.3.1.2, 6.2.3.1.3, 6.2.3.1.4, 6.2.3.1.5, 6.2.3.2, 6.2.3.3, 6.2.4.1, 6.2.4.2, 6.2.4.3, 6.2.5.1, 6.2.5.2, 6.2.5.3, 6.2.5.4, 6.2.5.5, 6.3.1.1, 6.3.1.2, 6.3.1.3, 6.3.2.1, 6.3.2.2, 6.3.2.3, 6.3.2.4, 6.3.3.1, 6.3.3.2, 6.3.3.3, 6.3.3.4, 6.3.4.1, 6.3.4.2, 6.3.4.3, 6.4.1, 6.4.10, 6.4.2, 6.4.3, 6.4.4, 6.4.6, 6.4.7, 6.4.9 | PDF | CFIHOS-70000292
S737-IR-72 | Termination Diagram | a diagram for equipment, panels, junction boxes, etc. identifies all connections and cable terminations at input/output rails. Required for removal/hook up purposes and modifications. To include vendor interfaces. | 5.4.3.1.3, 5.4.6.1, 5.4.6.4, 5.4.6.5, 5.4.6.6 | PDF | CFIHOS-70000330
S737-IR-41 | Wiring Diagram | Description: Diagram providing information on the circuitry of an object. Mandatory content of information: – Graphical symbols representing the objects; – Graphical symbols representing the connections among objects; – Reference designations; – Terminal designations; – Signal level conventions (applicable to logic signals). – Information necessary to trace paths and circuits (signal designations, location references) – Supplementary information necessary for the understanding of functions Optional content of information: – Technical data; – Reference to other documents; – Information about wiring performance; – Cable and cable core identification. | 4.4.1, 5.4.1.1, 5.4.1.2, 5.4.1.3, 5.4.1.4, 5.4.1.5, 5.4.2.2, 5.4.2.3, 5.4.5.1, 5.4.5.2, 5.4.5.3, 5.4.6.2, 5.4.6.3, 5.4.7.1, 5.4.7.4, 5.4.8.3, 5.4.8.4, 5.4.9 | PDF | CFIHOS-70000268
Lists
S737-IR-42 | Cable List | a collection of values relating to List of all cables, their specifications and end points. Indicates salient features of all cables in Vendor's supply and connecting cables supplied by Principal. Synonym: Cable Schedule | 4.7.2, 5.4.3.1.2 | PDF | CFIHOS-70000033
S737-IR-97 | Electrical Load List | an authoritative collection of electrical loads which the electrical system must accommodate listed against each piece of equipment. The columns of this collection are specified and controlled. Synonym for Load Schedule | 5.4.1.1, 5.4.1.2, 5.4.1.3, 5.4.1.4, 5.4.1.5 | PDF | CFIHOS-70000203
S737-IR-43 | Equipment List | A tag extract that is used as a data exchange format for equipment in deluge skid to be delivered to the project. Also known as Equipment Index. | 4.1.1, 4.7.2 | PDF | CFIHOS-70000126
S737-IR-44 | Instrument List | A tag extract that is used as a data exchange format for instrumentation in the deluge skid to be delivered to the project. Also known as Instrument Index. | 4.7.2, 6.3.1.1, 6.3.1.2, 6.3.1.3 | PDF | CFIHOS-70000418
S737-IR-45 | Lubrication List | Schedule to indicate type and grade of lubricants and other consumables required for all equipment supplied. For each schedule entry the following is also to be included as a minimum: Tag number, tag description / component, lubricant manufacturer, lubricant type and grade (product code), first fill capacities, rate of consumption (litres / day) and frequency of change. | 5.5.1.1.1 | PDF
S737-IR-46 | Manual Valve List | a list describing manually operated valves. Not check valves, not motor operated valves, not control valves, not PSVs, as these are all captured elsewhere (see instrument index for relief devices and actuated valves). | 4.7.2, 6.2.1.1, 6.2.1.2 | PDF | CFIHOS-70000346
S737-IR-48 | Piping Line List | an authoritative collection of values with a relationship to piping. The columns of this collection are specified and controlled. | 4.4.4 | PDF | CFIHOS-70000278
S737-IR-49 | Spare Part List | Table containing list items specifying the objects (parts, components, software, equipment, etc.) that are available or delivered as spare parts for later use. Mandatory content of information: – Item reference number; – Quantity; – Part number or global identifier (together with manufacturer / supplier); – Part name. Optional content of information: – Type designation; – Specifying technical data; – Descriptive technical data; – Mass, dimensions; – Reference to document; – Remark. | 5.4.7.2 | PDF | CFIHOS-70000374
S737-IR-50 | Special Tools List | The Special Tools List shall identify all special tools necessary for handling, dismantling, maintenance etc. of equipment. Special Tools List shall include: • Identification - the tag number the special tool shall support • Description of the special tool • Storage, i.e. the location where the special tool can be found • Document references, if applicable | 9.1, 9.2 | PDF
S737-IR-96 | Utility Consumption List | Document providing input to engineering for design of the customer's installation or utility arrangement. Document stating the normal and maximum consumption of e.g. electric power, diesel oil, compressed air, heating/cooling media etc., for the equipment(-s) or unit(-s). The following generalised index shall be used: • Equipment tag no. • Type of consumption • Normal Mode - The mode of platform operation when main process, utility systems (including drilling) and other facilities are in operation. This mode of operation gives the peak power requirement. • Critical Mode - The mode of platform operation just after a generator shut down and only one generator is running. • Stabilized Mode - The same mode of platform operation as critical mode, but the situation is stabilized. • Emergency Mode - The mode of platform operation when main process, utility systems, supplies to existing facilities are shut down. - The main generators are shut down. - The emergency generator is running. The load list shall show individual consumers to high and low voltage switchboards. | 5.4.1.1 | PDF
S737-IR-105 | Input, Output List | an authoritative collection of values with a relationship to a specific equipment. List to show input and output of an equipment (e.g. instrument, telecom equipment) connected to other equipments (e.g. distributed control system, programmable logic controller).The columns of this collection is specified and controlled. | 5.4.1.1 | PDF | CFIHOS-70000179
Manuals and MRB
S737-IR-54 | Installation Manual | Description of methods of installing a piece of equipment. Installation refers to the mounting, setting, erection, etc. NOTE: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a stand alone document. | 6.2.4.3 | PDF | CFIHOS-70000181
S737-IR-55 | Maintenance Manual | Description of methods of maintaining a specific piece of equipment. Typically originates from the equipment or package supplier. NOTE: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a stand alone document. | 5.6.1.1 | PDF | CFIHOS-70000206
S737-IR-66 | Manufacturer Record Book (MRB) | Detailed information/description for the documents to be included in MRB as agreed between Purchaser and Vendor: Shall include but not be limited to documents Recording Compliance With Statutory and/or Local Regulations, certificates and inspection and testing results / reports for all the testing (e.g. Mill tests on Material, production test coupon results, NDE, NDE personnel qualification, impact test, Heat treatment, leak testing etc.) carried out at Vendor/Sub-Vendor shop and at mill. |  | PDF
S737-IR-56 | Operating Manual | Description of methods of operating a piece of equipment or process unit, including but not limited to instructions, procedures, drawings, tables, etc. for the operation -stop, start, and emergency shutdown. Including operational limits, function testing, possible interruptions, corrective actions, hazards and corrective measures to be taken. NOTE: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a stand alone document. | 5.1.2.1 | PDF | CFIHOS-70000228
S737-IR-57 | Safety Manual | Safety Manual (Safety Analysis Report, SAR) shall be provided for devices which contribute to achieve the safe state of an applicable Safety Instrumented Functions (SIF), shall conform to established functional safety requirements derived from Safety Requirement Specification (SRS) and including Probability of Failure on Demand (PFD) / Hardware Fault Tolerance (HFT), and shall refer to either one of the following two approaches: - Devices which are certified/type approved in accordance with IEC 61508 - Devices which are selected based on Prior Use in accordance with IEC 61511 Whereas IEC 61508 is a generic standard common to several industries, the process industry has developed their own sector specific standard for application of SIS. This standard; IEC 61511, is also extensively referred in the present document. | 4.8 | PDF
Procedures
S737-IR-53 | Commissioning and start-up procedure | Instruction providing information on the commissioning and start up of the product. Instructions for commissioning are provided especially for large and highly complex products and for large industrial installations. The purpose of such instructions is to provide the user with the information needed for initial setting-up of the product. |  | PDF
S737-IR-58 | Factory Acceptance Test (FAT) Procedure | The FAT procedure will be used to ensure a common understanding of performed testing and acceptance criteria. This document shall include all testing activities and their acceptance criteria according to applicable standards, specifications and requirements,. to document the condition of the equipment as tested from factory. Test set-up and test equipment is shall be defined. Suppliers standard (routine) test procedures should be used as far as possible | 10.2.3, 4.2, 6.2.4.1, 6.2.4.3 | PDF
S737-IR-77 | Lifting and Installation Procedure | The Suppliers proposed and acceptable transportation, lifting requirements and handling methods. Drawings shall be provided indicating size of containers / packages, centre of gravity, number off weight, identification, and packing list of contents. Also to include installation procedure. Note Copies of applicable lifting procedures are to be included in the delivery documentation which accompanies shipments of equipment. | 12.1 | PDF
S737-IR-61 | Painting And Coating Procedure | Verification of suppliers compliance with surface protection and coating requirements. This document provides a procedure for coating operator to ensure repeatability and formalism and hence prove the quality of the coating work. This document details the work process and how the defined requirements to surface treatment, application and quality control shall be met. A procedure may cover wet paint, powder coating, or metallic coatings. The document shall include reference to applied standards and the information about revision of the applied standard. | 8.1.1, 8.1.2, 8.2.2 | PDF | CFIHOS-70000384
S737-IR-74 | Pressure Test Procedure | a procedure documenting specific steps to conduct inspection of an asset/object. Typically details boundaries of the test, isolations, method of pressurization, required hold intervals etc. Includes hydrostatic, pneumatic, vacuum and leak test/examinations | 10.2.3, 5.10, 5.8.1, 5.9 | PDF | CFIHOS-70000286
S737-IR-78 | Packing, Marking and Preservation Procedure | Procedures shall be provided for the preservation of packaged equipment and spares on site for time periods specified in Purchase Order. Initial preservation, packing and marking in the factory shall also be covered. Procedures shall address the following areas as a minimum: Initial preservation for domestic or export packing during transport. Storage requirements (e.g., outside, warehouse, air conditioned warehouse). Inspection requirements and procedures for maintaining preservation upon receipt at construction and installation site. Preservation tasks required to maintain conditions of warranty. Preservation materials (oil, grease, gases, etc.). Material safety data sheets. | 11 | PDF | CFIHOS-70000154
Records
S737-IR-65 | Factory Acceptance Test (FAT) Records | The FAT report will be used to verify that the equipment has been tested according to FAT procedure. The FAT report will be used for acceptance of the equipment delivery This document shall include all testing activities and their acceptance criteria according, in accordance with the FAT procedure, to applicable standards, specifications and requirements, to document the condition of the equipment as tested from factory. Test set-up and test equipment is shall be defined. | 10.1.1, 10.1.2, 10.1.3, 10.1.4, 10.2.1, 10.2.2, 4.2, 6.2.4.1, 6.2.4.3 | PDF
S737-IR-67 | Painting And Coating Inspection Records | This document is used for verification of compliance with surface protection and coating requirements. Document containing records of performed surface protection and coating work. | 8.1.1 | PDF
Reports
S737-IR-91 | Material Traceability Report | Location plans/records with an identification system cross referring to the individual material certificates. The report shall be to the specified traceability level: Level I - Full Traceability - Material is uniquely identified and its history tracked from manufacture through stockists (where applicable) to the manufacturer and to actual position on the equipment with specific location defined on a material placement record (the traceability to a specific location only applies to skids / packaged equipment, not to bulks) Level II - Type Traceability – the manufacturer maintains a system to identify material throughout manufacture, with traceability to a material certificate Level III - Compliance Traceability – the manufacturer maintains a system of traceability that enables a declaration of compliance to be issued by the manufacturer | 4.4.4 | PDF | CFIHOS-70000217
S737-IR-92 | Materials Test Report (2.2) | A document in which the supplier declares that the products supplied are in compliance with the requirements of the PO, and in which test results are supplied based on non-specific inspection and testing NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204. | 5.1.1.1 | PDF | CFIHOS-70000412
S737-IR-93 | Pressure Test Report | a report recording duration and results of hydro static, pneumatic, and leak test examinations. Typically includes a pressure chart to demonstrate satisfactory results | 10.1.1, 5.10, 5.8.1, 5.9 | PDF | CFIHOS-70000287
S737-IR-94 | Safety Analysis Input To Safety Analysis Report | This document shall provide input to Safety Analysis Report (SAR), and to document acceptable level of SIL according to requirements. This document shall include necessary input to Safety Analysis Report. | 4.8 | PDF
S737-IR-95 | Structural Design Report | Structural design report detailing the following shall be provided: - Input data - Assumptions made - Load cases and load combinations analysed - Vibration assessment - Accidental design calculations - Factor of safety achieved - Documentation of lifting equipment where applicable | 10.1.1, 12.2 | PDF | CFIHOS-70000092
S737-IR-98 | Foam pump performance test graph and report | Describe the main characteristic and limits of the pump. Characteristics and functional parameters shall be documented and performance shall be shown to be probable. This shall include but not be limited to curves, reference to similar applications and test data. Performance curves to indicate differential head developed, efficiency and absorbed power versus flow with any velocity corrections for rated impeller. Guarantee points shall be clearly identified. | 5.9 | PDF | CFIHOS-70000245
S737-IR-99 | Hydraulic calculations report | Calculations to indicate basis on which equipment is sized, including pipe friction losses, equipment elevations and terminal point static pressures. Includes Net Positive Suction Head calculations and other steady state conditions. Also includes calculation of hydraulic surge (synonym Water Hammer) for the purpose of determining valve sizing, closing speed, etc. | 10.1.2, 10.1.4, 5.6.2.1, 6.1.1 | PDF | CFIHOS-70000169
S737-IR-100 | Orifice calculations report | This calculation shall support verification of the selected bore size, vent/drain hole size for the specified DP at the maximum flow rate. |  | PDF
Welding Technical Information Deliverables
S737-IR-79 | Laboratory accreditation certificate | Certificate issued by a certification body. Certificate and schedule to be included. | 7.1 | PDF | CFIHOS-70000013
S737-IR-80 | Non Destructive Examination (NDE) Personnel Qualification | Records demonstrating competence of NDE personnel in accordance with recognised certification program ASNT or ISO | 10.1.1 | PDF
S737-IR-90 | Non-Destructive Examination (NDE) Report | A document containing data which records compliance with specified procedure. Documents containing records of performed NDT (in typical NDT methods e.g. MT, PT, RT, UT, ET and VT). | 10.1.1 | PDF
S737-IR-89 | Non Destructive Test Procedure | This document is a part of the Quality Assurance Plan, and herein the Quality Assurance work process and verification. This document provides a procedure for NDT operator to ensure repeatability and formalism and hence prove the quality of the NDT work. Document describing how to perform NDT (i.e. MT, PT, RT, UT, VT or ET) for a given object, including acceptance criteria and reporting. FALSE) | 10.1.1 | PDF | CFIHOS-70000227
S737-IR-81 | Production parameter monitoring record | Monitoring records shall: a) be traceable to a specific welder, WPS and production weld; b) verify correct fit-up and root pass penetration for single sided welds where full penetration is required, including weldolets and/or attachment welds; c) detail the actual preheat and interpass temperature, welding parameters and resulting heat input; d) be endorsed by the welding coordinator or welding inspector; e) be made available to the purchaser upon request. | 7.1 | PDF | CFIHOS-70000417
S737-IR-82 | Welder Qualification Certificate | Certification demonstrating that a welder is qualified to perform work to welding procedure specification(s). | 7.3.1, 7.3.2 | PDF | CFIHOS-70000413
S737-IR-83 | Welding Coordinator Qualification | Welding coordinator certification and record of relevant qualification and experience. | 7.1 | PDF | CFIHOS-70000413
S737-IR-84 | Welding Inspector Qualification | Welding inspector certification and CV/description of relevant experience. | 7.1 | PDF | CFIHOS-70000413
S737-IR-85 | Welding Procedure Qualification Record | Records documenting welding and associated testing of welding processes to a defined set of essential variables. Typically includes all testing procedure references and both destructive and non-destructive testing results. | 7.2.1, 7.2.2 | PDF | CFIHOS-70000362
S737-IR-86 | Welding Procedure Specification | A specification that describes the welding procedure and process of a specific set of essential variables. | 7.2.1, 7.2.2 | PDF | CFIHOS-70000408
S737-IR-87 | Welding Traceability Records | Welding records presented as data set, plan, drawing or map. Typically providing traceability for; - Weld number and welders identification, fabrication drawing number, systems and line number (piping systems), Welding Procedure Specification, Extent of NDE, NDE report number, inspection result, number of performed weld repairs, PWHT report number, repair report number, deviation report | 7.1 | PDF | CFIHOS-70000360
S737-IR-88 | Welding Repair Procedure | a document which describes a set of logically sequenced instructions to execute a weld repair | 7.2.1, 7.2.2 | PDF | CFIHOS-70000363
Purchase Order Specific Information Requirements

## Back Cover
Month XXXX

## Pick Lists (hidden)
Deliverables Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Title | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s)� | Translation Required | Remarks
|  |  |  | Yes/No) | Purpose | (Weeks) | (Period) | Yes/No)
|  |  |  | Yes | For Information |  | WAD | Yes |  | Yes
|  |  |  | No | For Acceptance |  | WAI | No |  | No
|  |  |  | - | - |  | WAO | - |  | -
WAO (Monthly)
WAT
WPTD
WPTF
WPTT
-
Definitions Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F
Code | Title | Description | Reference | Format | CFIHOS Discipline Document Type Code
Hard Copy
Native
PDF
Intelligent Vector (CAD)
Multi media (Film)
Raster Image (Bitmap)
Structured Data (MS Apps)
Technical Publication (Text)
-
Note on K4: Chris Mitchell:
Note on L4: Chris Mitchell: