## Front & Preliminaries
|  |  |  | SPECIFICATION | September 2022
|  |  |  | IOGP S-739D | Version 1.0
Procurement Data Sheet for
Pressure Regulators
Revision history
| VERSION | DATE | PURPOSE
| 1 | September 2022 | First Edition
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Programme 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
Please note that this publication is provided for informational purposes and
adoption of any of its recommendations is at the discretion of the user. Except as
explicitly stated otherwise, this publication must not be considered as a substitute
for government policies or decisions or reference to the relevant legislation relating
to information contained in it.
Where the publication contains a statement that it is to be used as an industry
standard, IOGP and its Members past, present, and future expressly disclaim all
liability in respect of all claims, losses or damages arising from the use or
application of the information contained in this publication in any industrial application.
Any reference to third party names is for appropriate acknowledgement of their
ownership and does not constitute a sponsorship or endorsement.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
IOGP S-739D (1.0) Procurement Data Sheet for
Pressure Regulators
Foreword
This specification was prepared under Joint Industry Programme 33 (JIP33) "Standardization of Equipment Specifications for Procurement" organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly agreed specification, building on recognized industry and international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focused standardization initiatives and provide step change benefits in the sector's capital projects performance.
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP's Competition Law Guidelines (November 2020).
IOGP S-739D (1.0) Procurement Data Sheet for
Pressure Regulators
Introduction
The purpose of this procurement data sheet is to define purchaser specific requirements for the procurement of pressure regulators in accordance with IOGP S-739 for application in the petroleum and natural gas industries. The procurement data sheet provides project specific requirements where the specification requires the purchaser to define an application specific requirement. It also includes information required by the purchaser for technical evaluation purposes. Additional purchaser supplied documents can be listed in the procurement data sheet to define scope and technical requirements for enquiry and purchase of the equipment.
This procurement data sheet shall be used in conjunction with the specification (IOGP S-739), information requirements specification (IOGP S-739L) and quality requirements specification (IOGP S-739Q) which together comprise the full set of specification documents. The introduction section in the specification provides further information on the purpose of each of these documents and the order of precedence for their use.
JIP33 Specification for Procurement Documents Procurement Data Sheet

## Procurement Data Sheet
Row | IOGP S-739D (1.0) Procurement Data Sheet for Pressure Regulators | [6 empty] | Issue
2 | Ref. Clause | Description | Purchaser requirement | Purchaser requirement UOM | Supplier offered value | Supplier offered UOM | Additional notes |  | Requirement CFIHOS ID | Equipment CFIHOS ID
3 |  | General
4 | 9.1.2 | Conformity assessment system (CAS) level : | D |  | D | [5 empty] | select | A | B | C | D
5 |  | Project country : | input data |  | input data
6 |  | Project region : | input data |  | input data
7 | 8.1.1 | Plant environmental location : | select |  | select | [5 empty] | select | offshore | marine coastal | subsea | buried | onshore
8 |  | Units of measurement : | select |  | select | [5 empty] | select | SI | US customary
9 | 6.1, 6.2, 9.1.5.1, 9.2.1 | Normative reference base sizing standard : | select |  | select | [5 empty] | select | IEC 60534 | ANSI/ISA 75
10 | Clause 10, 8.1.1 | Minimum ambient temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
11 | Clause 10, 8.1.1 | Maximum ambient temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
12 |  | Surface protection
13 | 10.1, 10.2, 10.3 | Atmospheric corrosivity category : | select |  | select | [5 empty] | select | C1 | C2 | C3 | C4 | C5 | CX
14 | 10.1, 10.2, 10.3 | Surface protection durability category : | medium (M) 7 to 15 years |  | medium (M) 7 to 15 years | [5 empty] | select | medium (M) 7 to 15 years | high (H) 15 to 25 years | very high (VH) +25 years
15 |  | Identifier
16 | 11.1 | Tag number : | input data |  | input data
17 |  | Tag description : | input data |  | input data
18 |  | General
19 | 10.1, 10.2, 10.3, 8.1.1 | Special environmental conditions : | input data |  | input data
20 | A.1, Table A.1, Table A.2 | Quality specification level for non-destructive examination (NDE) : | QSL-1 |  | QSL-1 | [5 empty] | select | QSL-1 | QSL-2 | QSL-3 | QSL-4
21 |  | Regulator type : | select |  | select | [5 empty] | select | self-acting (direct operated) | pilot-operated
22 |  | Regulator function : | select |  | select | [5 empty] | select | pressure reducing | back pressure | differential pressure
23 | 4.1 | Internal relief to atmosphere : | select |  | select | [5 empty] | select | yes | no
24 |  | Pressure sensing : | internal |  | internal | [5 empty] | select | internal | external
25 |  | Pipe
26 |  | Line size : | input data | select | input data | select |  |  |  |  | select | DN | NPS
27 |  | Line schedule : | input data |  | input data
28 | 10.4 | Pipe material : | input data |  | input data
29 |  | Process inputs - General
30 | 4.1, 6.1, 8.1.1 | Process fluid : | input data |  | input data
31 | 6.1 | Fluid state : | input data |  | input data
32 | 4.1, 6.1, 8.1.1 | Service : | select |  | select | [5 empty] | select | general | corrosive
33 | 6.1, 8.1.1, 8.4 | Sour service : | not applicable |  | not applicable | [5 empty] | select | ANSI/NACE MR0175/ISO 15156 | ANSI/NACE MR0103/ISO 17945 | not applicable
34 | 8.1.1, 8.4 | H₂S content : | input data | select | input data | select |  |  |  |  | select | % | mol % | parts per million by volume
35 | 4.3, 5.2, 8.1.1, 8.4, 9.1.5.1 | Design pressure : | input data | select | input data | select |  |  |  |  | select | kPag | barg | psig
36 | 4.3, 8.1.1, 8.1.10, 8.4 | Design temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
37 | 6.1 | Minimum flow rate : | input data | select | input data | select |  |  |  |  | select | kg/h | m3/h | lb/h | ft3/h
38 | 6.1 | Normal flow rate : | input data | select | input data | select |  |  |  |  | select | kg/h | m3/h | lb/h | ft3/h
39 | 6.1 | Maximum flow rate : | input data | select | input data | select |  |  |  |  | select | kg/h | m3/h | lb/h | ft3/h
40 | 6.1 | Inlet pressure at minimum flow : | input data | select | input data | select |  |  |  |  | select | kPag | barg | psig
41 | 6.1 | Inlet pressure at normal flow : | input data | select | input data | select |  |  |  |  | select | kPag | barg | psig
42 | 6.1 | Inlet pressure at maximum flow : | input data | select | input data | select |  |  |  |  | select | kPag | barg | psig
43 | 6.1 | Pressure drop at minimum flow : | input data | select | input data | select |  |  |  |  | select | kPa | bar | psi
44 | 6.1 | Pressure drop at normal flow : | input data | select | input data | select |  |  |  |  | select | kPa | bar | psi
45 | 6.1 | Pressure drop at maximum flow : | input data | select | input data | select |  |  |  |  | select | kPa | bar | psi
46 | 6.1 | Inlet density at minimum flow : | input data | select | input data | select |  |  |  |  | select | kg/m3 | lb/ft3
47 | 6.1 | Inlet density at normal flow : | input data | select | input data | select |  |  |  |  | select | kg/m3 | lb/ft3
48 | 6.1 | Inlet density at maximum flow : | input data | select | input data | select |  |  |  |  | select | kg/m3 | lb/ft3
49 | 6.1 | Inlet temperature at minimum flow : | input data | select | input data | select |  |  |  |  | select | °C | °F
50 | 6.1 | Inlet temperature at normal flow : | input data | select | input data | select |  |  |  |  | select | °C | °F
51 | 6.1 | Inlet temperature at maximum flow : | input data | select | input data | select |  |  |  |  | select | °C | °F
52 | 6.1 | Inlet viscosity at minimum flow : | input data | select | input data | select |  |  |  |  | select | cP | cS
53 | 6.1 | Inlet viscosity at normal flow : | input data | select | input data | select |  |  |  |  | select | cP | cS
54 | 6.1 | Inlet viscosity at maximum flow : | input data | select | input data | select |  |  |  |  | select | cP | cS
55 | 6.1 | Maximum shutoff differential pressure : | input data | select | input data | select |  |  |  |  | select | kPa | bar | psi
56 |  | Process inputs - Liquid
57 | 6.1 | Inlet vapour pressure at minimum flow : | input data | select | input data | select |  |  |  |  | select | kPaa | bara | psia
58 | 6.1 | Inlet vapour pressure at normal flow : | input data | select | input data | select |  |  |  |  | select | kPaa | bara | psia
59 | 6.1 | Inlet vapour pressure at maximum flow : | input data | select | input data | select |  |  |  |  | select | kPaa | bara | psia
60 | 6.1 | Critical pressure : | input data | select | input data | select |  |  |  |  | select | kPaa | bara | psia
61 | 6.1 | Critical temperature : | input data | select | input data | select |  |  |  |  | select | K | °R
62 |  | Process inputs - Gas
63 | 6.1 | Molecular weight at minimum flow : | input data | select | input data | select |  |  |  |  | select | g/mole | lb/mole
64 | 6.1 | Molecular weight at normal flow : | input data | select | input data | select |  |  |  |  | select | g/mole | lb/mole
65 | 6.1 | Molecular weight at maximum flow : | input data | select | input data | select |  |  |  |  | select | g/mole | lb/mole
66 | 6.1 | Compressibility factor at minimum flow : | input data |  | input data
67 | 6.1 | Compressibility factor at normal flow : | input data |  | input data
68 | 6.1 | Compressibility factor at maximum flow : | input data |  | input data
69 | 6.1 | Specific heat ratio at minimum flow : | input data |  | input data
70 | 6.1 | Specific heat ratio at normal flow : | input data |  | input data
71 | 6.1 | Specific heat ratio at maximum flow : | input data |  | input data
72 |  | Main valve body and bonnet
73 |  | Main valve body design : | select |  | select | [5 empty] | select | single piece | split
74 | 5.3 | Inlet/outlet size : | input data | select | input data | select |  |  |  |  | select | DN | NPS
75 | 4.3, 5.2 | Pressure class : | select |  | select | [5 empty] | select | Cl-150 | Cl-300 | special
76 |  | End connection type : | select |  | select | [5 empty] | select | flanged | welded | screwed
77 |  | Flange facing : | input data |  | input data
78 |  | Flange facing finish : | input data |  | input data
79 | Table 1 through Table 7 | Body and bonnet material : | input data |  | input data
80 | Table 1 through Table 7 | Body/bonnet bolting and nuts material : | input data |  | input data
81 | 8.1.6 | Body/bonnet gasket material : | input data |  | input data
82 |  | Main valve trim
83 | 8.1.6, Table 1 through Table 7 | Plug material and hardfacing : | input data |  | input data
84 | Table 1 through Table 7 | Seat material and hardfacing : | input data |  | input data
85 |  | Stem material : | input data |  | input data
86 |  | Pilot valve
87 | 8.1.6 | Body and case material : | input data |  | input data
88 | 8.1.6 | Plug material : | input data |  | input data
89 | 8.1.6 | plug stem material : | input data |  | input data
90 |  | Actuator
91 |  | Set point : | input data | select | input data | select |  |  |  |  | select | kPag | barg | psig
92 |  | Spring range : | input data | select | input data | select |  |  |  |  | select | kPag | barg | psig
93 | 8.1.6, 8.2.2 | Spring material (if wetted) : | input data |  | input data
94 | 8.2.2, Table 8 | Casing material : | select |  | select | [5 empty] | select | carbon steel with coating | aluminium | 316 stainless steel | other
95 | 8.2.2, Table 8 | Diaphragm material : | input data |  | input data
96 |  | Performance requirements
97 |  | Maximum external sound pressure level : | input data | dBA | input data | dBA
98 | 6.3, 9.2.1 | Leakage class : | input data |  | input data
99 |  | Miscellaneous
100 | 5.5 | Tubing and fitting material : | select |  | select | [5 empty] | select | 316 stainless steel | 316L stainless steel | alloy 254 (6 Mo) | other
101 |  | Manufacturer and model number
102 |  | Manufacturer : | input data |  | input data
103 |  | Regulator model number : | input data |  | input data
104 |  | Pilot model number : | input data |  | input data
Note on C4: Select the CAS level to be applied in IOGP S-739Q, Annex A. Default value : D
Note on C5: Specify the country in which the equipment will be located.
Note on C6: Specify the geographic location of the project within a country which determines the applicability of local regulatory requirements.
Note on C7: Select the location of the facility, "offshore", "marine coastal", "subsea", "buried" or "onshore" where the equipment will be permanently installed.
Note on C8: Select "SI" or "US" customary units based on the project philosophy.
Note on C9: Select the required standard based on the project requirement (e.g. for North American locations, select "ANSI/ISA 75"; for Europe, select "IEC 60534") as per IOGP S-739:2022, Section 2.
Note on C10: Specify the minimum ambient temperature as per design data.
Note on C11: Specify the maximum ambient temperature as per design data.
Note on C13: Select the atmospheric corrosivity category in accordance with ISO 12944-2.
Note on C14: Select the surface durability category in accordance with ISO 12944-1, 5.5. The durability range is not a “guarantee time”. Durability is a technical consideration/planning parameter that can help the owner set up a maintenance programme. Default value : medium (M) 7 to 15 years
Note on C16: Specify the pressure regulator tag from the PID or the process data sheet.
Note on C17: Specify the functional description of the tag.
Note on C19: Specify the special conditions arising from the installation location (e.g. wet salt accumulation, sea water spray conditions, dust concentration, particle size distribution).
Note on C20: Default value : QSL-1
Note on C21: Select the type based on accuracy and capacity requirement for the application.
Note on C22: Select "pressure reducing" for downstream pressure regulation, "back pressure" for upstream pressure regulation or "differential pressure reducing" for differential pressure regulation.
Note on C23: Confirm whether the quoted pressure regulator has internal relief or not based on process fluid.
Note on C24: Select "internal" or "external" based on the application. Default value : internal
Note on C26: Specify the line size from the PID.
Note on C27: Specify the line schedule from the piping class.
Note on C28: Specify the pipe material from the piping class.
Note on C30: Specify the process fluid as per the process data sheet and in "Additional notes". Specify whether the fluid is flammable or non-flammable. Do not specify "produced water" as "water". This avoids the risk of erosion to the regulator components.
Note on C31: Specify the fluid state as per the process data sheet.
Note on C32: Select the service based on the process data sheet. Indicate the user's definition for lethal and toxic service so that the manufacturer clearly understands the importance of the service.
Note on C33: "ANSI/NACE MR0175/ISO 15156" may be selected for projects in upstream exploration and production and "ANSI/NACE MR0103/ISO 17945" may be selected for refinery projects. Default value : not applicable
Note on C34: Specify the H₂S content in %, mol %, parts per million by volume.
Note on C35: Specify the design pressure as per the process data sheet.
Note on C36: Specify the design temperature as per the process data sheet.
Note on C37: Specify the minimum flow rate as per the process data sheet.
Note on C38: Specify the normal flow rate as per the process data sheet.
Note on C39: Specify the maximum flow rate as per the process data sheet.
Note on C40: Specify the inlet pressure at minimum flow rate as per the process data sheet.
Note on C41: Specify the inlet pressure at normal flow rate as per the process data sheet.
Note on C42: Specify the inlet pressure at maximum flow rate as per the process data sheet.
Note on C43: Specify the pressure drop at minimum flow rate as per the process data sheet.
Note on C44: Specify the pressure drop at normal flow rate as per the process data sheet.
Note on C45: Specify the pressure drop at maximum flow rate as per the process data sheet.
Note on C46: Specify the inlet density at minimum flow as per the process data sheet.
Note on C47: Specify the inlet density at normal flow as per the process data sheet.
Note on C48: Specify the inlet density at maximum flow as per the process data sheet.
Note on C49: Specify the inlet temperature at minimum flow rate as per the process data sheet.
Note on C50: Specify the inlet temperature at normal flow rate as per the process data sheet.
Note on C51: Specify the inlet temperature at maximum flow rate as per the process data sheet.
Note on C52: Specify the inlet viscosity at minimum flow rate as per the process data sheet.
Note on C53: Specify the inlet viscosity at normal flow rate as per the process data sheet.
Note on C54: Specify the inlet viscosity at maximum flow rate as per the process data sheet.
Note on C55: Specify the maximum shutoff differential pressure from the process data sheet.
Note on C57: Specify the inlet vapour pressure at minimum flow rate as per the process data sheet.
Note on C58: Specify the inlet vapour pressure at normal flow rate as per process data sheet.
Note on C59: Specify the inlet vapour pressure at maximum flow rate as per the process data sheet.
Note on C60: Specify the critical pressure as per the process data sheet.
Note on C61: Specify the critical temperature as per the process data sheet.
Note on C63: Specify the molecular weight at minimum flow rate as per the process data sheet.
Note on C64: Specify the molecular weight at normal flow rate as per the process data sheet.
Note on C65: Specify the molecular weight at maximum flow rate as per the process data sheet.
Note on C66: Specify the compressibility factor at minimum flow rate as per the process data sheet.
Note on C67: Specify the compressibility factor at normal flow rate as per the process data sheet.
Note on C68: Specify the compressibility factor at maximum flow rate as per the process data sheet.
Note on C69: Specify the specific heat ratio at minimum flow rate as per the process data sheet.
Note on C70: Specify the specific heat ratio at normal flow rate as per the process data sheet.
Note on C71: Specify the specific heat ratio at maximum flow rate as per the process data sheet.
Note on C73: Select the main valve body design based on project philosophy.
Note on C74: Confirm the regulator inlet/outlet size based on the sizing calculation.
Note on C75: Select the pressure class based on the piping class.
Note on C76: Select the end connection type based on piping specification.
Note on C77: Specify the required flange facing (e.g. RF, RTJ) as per the piping specification.
Note on C78: Specify the required flange facing as per the piping specification.
Note on C79: Specify the body/bonnet material based on the piping material.
Note on C80: Specify the body/bonnet bolting and nuts material based on the piping material.
Note on C81: Confirm the gasket material.
Note on C83: Specify the plug material based on the material selection from Table 1 through Table 7. The manufacturer should recommend hardfacing based on severe service conditions.
Note on C84: Specify the seat material based on the material selection from Table 1 through Table 7. The manufacturer should recommend hardfacing based on service conditions.
Note on C85: Confirm the stem material offered.
Note on C87: Specify the body and case material based on the piping class base material.
Note on C88: Confirm the plug material offered.
Note on C89: Confirm the stem plug material based on the piping class base material.
Note on C91: Specify the set point from the process data sheet.
Note on C92: Confirm the offered spring range based on the selection.
Note on C93: Confirm the selected spring material.
Note on C94: Confirm the casing material grade based on Table 8.
Note on C95: Confirm the diaphragm material offered.
Note on C97: Specify the maximum external sound pressure level as per the project noise philosophy and based on continuous, intermittent or infrequent service of the application.
Note on C98: Specify the leakage class as per the process data sheet based on IEC or ISA adoption.
Note on C100: Select the tubing and fitting material. If "other" is selected, specify the tubing material in accordance with IOGP S-716 in "Additional notes".
Note on C102: Confirm the manufacturer's name during the bid evaluation stage.
Note on C103: Confirm the model number of the offered regulator prior to the purchase order.
Note on C104: Confirm the pilot model number prior to the purchase order.

## Supplement
Row |  | IOGP S-739D (1.0) Procurement Data Sheet for Pressure Regulators | Issue
2 | PURCHASE ORDER SPECIFIC REQUIREMENTS
3 | Delete this sheet if not required
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93

## Guidance
IOGP S-739D (1.0) Procurement Data Sheet for
Pressure Regulators
Guidance on the use of this procurement data sheet
To be used in conjunction with :
IOGP S-739 Specification for Pressure Regulators.
This procurement data sheet is designed to be used in MS Excel electronic format by the purchaser and the supplier.
This procurement data sheet, completed with requested values, should be delivered back to the purchaser by using the procurement data sheet template or other mutually agreed method.
Ref. Clause provides reference back to the parent standard or the supplementary specification where relevant.
Guidance specific to an item may be provided as a note in the description. This guidance is meant to provide a better understanding of the procurement data sheet item and/or an explanation of how to complete the input.
Additional notes may be used by the purchaser or supplier to provide additional information pertinent to the specification or supply of the equipment.
Issue should be used by the purchaser for revision purposes. After the first issue, for each subsequent revision of the procurement data sheet that is issued to suppliers for enquiry or purchase, the purchaser should use this column to denote that the data on a specific row has been updated since the previous revision. This enables the supplier to easily identify where changes have been made.
Default values (if applicable) have been set according to essential minimum requirements as an integral part of this specification and should only be changed where specific justification can be provided.
The Supplement worksheet is provided in an open format for application of specific items not covered in the main part of the procurement data sheet. This worksheet is not intended to modify requirements defined in the specification.
Purchaser requirement and Purchaser requirement UOM specify the functional and early design requirements of the equipment. Specified requirements allow the supplier to provide an offer to the purchaser.
Supplier offered value and Supplier offered UOM are used by the supplier to declare the offered value. Where the offered product characteristic differs from the Purchaser requirement, the cell shading is automatically updated (by conditional formatting) to highlight the deviation from the Purchaser requirement.
Requirement CFIHOS ID and Equipment CFIHOS ID are prepopulated and hidden in columns K and L of the procurement data sheet worksheet. The purpose of the CFIHOS IDs is to enable information exchange in a data-centric manner.
Legend
select | Purchaser completed, drop-down list of pre-defined values (may be prepopulated with a default value)
input data | Purchaser completed data entry
select | Supplier completed, drop-down list of pre-defined values
input data | Supplier completed data entry
select | Either supplier or purchaser completed, drop-down list of predefined values (may be prepopulated with a default value)
input data | Either supplier or purchaser completed data entry
select | Selection of units from a pre-defined drop-down list
select | No input expected
input data | No input expected
UOM | Fixed unit of measure
UOM | Fixed unit of measure
No unit of measure (null)
Configuration of purchaser and supplier input columns
The following table, to be read alongside the above legend, shows the possible combinations of relationships between purchaser requirement and supplier offered values.
Purchaser requirement |  | Purchaser requirement UOM | Supplier offered value | Supplier offered UOM
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data